## SUMMARY
Air Handling Units
| AREA | Space Type(s) Served | Sq Ft of serviced area | Occupant Population | SUPPLY CFM |  | HVAC RETURN |  | OUTDOOR Air CFM
UNIT | SERVED |  |  |  | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-ATE-1 | Atrium, 1st Floor | Open Office | - | - | 8000 |  | 7745 |  | 255
AHU-2 SE | 2400 Infill, 2nd | Open Office | 7200 | 75 | 6000 |  | 5310 |  | 690
AHU-3 SE | 3400 Infill, 3rd | Open Office | 7200 | 75 | 6000 |  | 5310 |  | 690
AHU-4 SE | 4400 Infill, 4th | Open Office | 7200 | 75 | 6000 |  | 5310 |  | 690
AHU-5 SE | 5400 Infill, 5th | Open Office | 7200 | 75 | 6000 |  | 5310 |  | 690
AHU-6 SE | 6400 Infill, 6th | Open Office | 7200 | 75 | 6000 |  | 5310 |  | 690
AHU-7 SE | 7400 Infill, 7th | Open Office | - | 20 | 3000 |  | 2690 |  | 310
AHU-A0 | Admin 6159 | Open Office | - | 15 | 3200 |  | 2800 |  | 400
AHU-SL | South Lobby GL | Open Office | - | - | 8600 |  | 8100 |  | 500
AHU-KON | 1st Floor Con. | Conference Rm | - | - | 11100 |  | 8900 |  | 2200
AHU-MH | Mailroom | Mailroom | - | 10 | 1090 |  | 890 |  | 200
OAHU-S1 | S Quadrant | - | - | - | 11500 |  | 0 |  | 11500
OAHU-S2 | S Quadrant | - | - | - | 11500 |  | 0 |  | 11500
OAHU-SE1 | SE Quadrant | - | - | - | 11500 |  | 0 |  | 11500
OAHU-SE2 | SE Quadrant |  |  |  | 11500 |  | 0 |  | 11500
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  |  |  |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE
HD
HD
HD
HD
HD
HD
HD
HD
HD