## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | DINING A | 3000 |  | 2320 | 0 | 680 |  | 22.67% | #DIV/0!
AC-2 | KITCHEN | 4500 |  | 3600 | 0 | 900 |  | 20% | #DIV/0!
AC-3 | N. DINING | 3300 |  | 2620 | 0 | 680 |  | 20.61% | #DIV/0!
AC-4 | S. DINING | 2800 |  | 2200 | 0 | 600 |  | 21.43% | #DIV/0!
AC-5 | PLAY AREA | 1800 |  | 1400 | 0 | 400 |  | 22.22% | #DIV/0!
AC-6 | KITCHEN | 4500 |  | 3600 |  | 900 |  | 20%
AC-7 | MULTI-PURPOSE | 1100 |  | 900 |  | 200 |  | 18.18%
EF-1 | HD 1 | [10 empty] | 1700
EF-2 | HD 3 | [10 empty] | 804
EF-3 | RESTROOMS | [12 empty] | 530
EF4 | HD 2 | [10 empty] | 701
EF 5 | HD L1
TOTALS |  | 21000 | 0 | 16640 | 0 | 4360 | 0 |  |  | 0 | 0 | 2504 | 0 | 530 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4360 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3034 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1326 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390