## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | KITCHEN | 3500 |  | 3500 | 0 |  |  | 0% | #DIV/0!
RTU-2 | KITCHEN | 3500 |  | 3500 | 0 |  |  | 0% | #DIV/0!
RTU-3 | DINING | 3500 |  | 3500 | 0 |  |  | 0% | #DIV/0!
RTU-4 | DINING | 3500 |  | 3500 | 0 |  |  | 0% | #DIV/0!
RTU-5 | DINING | 3500 |  | 3500 | 0 |  |  | 0% | #DIV/0!
RTU-6 | TAKE OUT/FOYER | 2000 |  | 2000 | 0 |  |  | 0% | #DIV/0!
MUA-1 | HD 1 & 2 | [8 empty] | 3800
MUA-2 | HD 4, 5 & 6 | [8 empty] | 7400
MUA-3 | HD 7 & 8 | [8 empty] | 4200
EF-1 | HD 1 & 2 | [10 empty] | 3800
EF-2 | HD 4 | [10 empty] | 2200
EF-3 | HD 5 & 6 | [10 empty] | 4800
EF-4 | HD 7 | [10 empty] | 2400
EF-5 | HD 8 | [10 empty] | 1600
EF-6 | HD 3 | [10 empty] | 1400
EF-7 | M&W RR | [12 empty] | 600
EF-8 | EMPLOYEE RR | [12 empty] | 100
EF-9 | OFFICE | [12 empty] | 400
TOTALS |  | 19500 | 0 | 19500 | 0 | 0 | 0 |  |  | 15400 | 0 | 16200 | 0 | 1100 | 0
[16 empty] | FALSE | TRUE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0 | #DIV/0! | #DIV/0! | FALSE
TOTAL OA |  | 15400 | 0 |  | FRONT
TOTAL EXHAUST |  | 17300 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0! | #DIV/0!
NET AIRFLOW |  | -1900 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0