## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | COOKLINE | 2400 |  | 2100 | 0 | 300 |  | 12.5% | #DIV/0!
RTU-2 | DINING/RR | 3000 |  | 2485 | 0 | 515 |  | 17.17% | #DIV/0!
RTU-3 | DINING AREA | 1200 |  | 1030 | 0 | 170 |  | 14.17% | #DIV/0!
FCU-1 | KITCHEN | 3000 |  | 3000 | 0 | 0 |  | 0% | #DIV/0!
ACU-1 | OFFICE |  |  |  |  | 15 |  | #DIV/0! | #DIV/0!
MUA-1 | KITCHEN | [8 empty] | 1980
EF-1 | HOOD1 | [10 empty] | 767
EF-2 | HOO2 | [10 empty] | 1708
EF-3 | RESTROOM | [12 empty] | 300
TOTALS |  | 9600 | 0 | 8615 | 0 | 1000 | 0 |  |  | 1980 | 0 | 2475 | 0 | 300 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2980 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 2775 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 205 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
KITCHEN PRESSURIZATION (MUST BE NEGATIVE)
TOTALS |  | DESIGN | ACTUAL
TOTAL KITCHEN OA |  | 2280
TOTAL KITCHEN EXHAUST |  | 2475
NET AIRFLOW |  | -195 | 0
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0