## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | ENTRY | 1600 |  | 1400 | 0 | 200 |  | 12.5% | #DIV/0!
RTU-2 | BAR DINING | 4000 |  | 3240 | 0 | 760 |  | 19% | #DIV/0!
RTU-3 | BAR DINING | 1280 |  | 1080 | 0 | 200 |  | 15.62% | #DIV/0!
RTU-4 | RR | 600 |  | 450 | 0 | 150 |  | 25% | #DIV/0!
RTU-5 | PRIVATE I | 960 |  | 760 | 0 | 200 |  | 20.83% | #DIV/0!
RTU-6 | PRIVATE II | 2400 |  | 1990 | 0 | 410 |  | 17.08% | #DIV/0!
RTU-7 | PRIVATE III | 2400 |  | 1880 | 0 | 520 |  | 21.67% | #DIV/0!
RTU-8 | MAIN D II | 3200 |  | 2160 | 0 | 1040 |  | 32.5% | #DIV/0!
RTU-9 | MAIN D I | 4000 |  | 3160 | 0 | 840 |  | 21% | #DIV/0!
RTU-10 | ROOM 79 | 2400 |  | 2185 | 0 | 215 |  | 8.958% | #DIV/0!
RTU-11 | OFFICES | 4800 |  | 3925 | 0 | 875 |  | 18.23% | #DIV/0!
RTU-12 | SERVICE | 4800 |  | 3925 | 0 | 875 |  | 18.23% | #DIV/0!
RTU-13 | BAR | 2720 |  | 2240 | 0 | 480 |  | 17.65% | #DIV/0!
MUA-1 | HOOD 1-3 | [8 empty] | 3000
EF-1 | EXH-L | [10 empty] | 1444
EF-2 | EXH-M | [10 empty] | 2306
EF-3 | EXH-R | [10 empty] | 1662
EF-4 | PREP | [10 empty] | 1800
EF-1 | RR | [12 empty] | 600
EF-2 | DISHES | [12 empty] | 600
EF-3 | MOP | [12 empty] | 100
EF-4 | TOILET | [12 empty] | 75
EF-5 | SMOKER | [12 empty] | 1000
TOTALS |  | 35160 | 0 | 28395 | 0 | 6765 | 0 |  |  | 3000 | 0 | 7212 | 0 | 2375 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 9765 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 9587 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 178 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0