## RTU-27
National TAB
Project: Galley On Levee
Address: 1 Levee Way Suite P-12 Newport, KY 41071
Asset: RTU-27
Unit Data |  | Test Data
Manufacturer | TRANE |  | Design | Actual
Model Num | YHD300 | SF CFM | 8480
Serial Num |  | SF RPM
Configuration | VERTICAL | RA CFM | 6360
|  | OA CFM | 2120
RL VOLTAGE
Num Final Filter |  | RL AMPERAGE
Final Filter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower |  | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase | 3 | DX Coil PD * |  | *
Rated Voltage | 480 | Pre Filter PD |  | *combined
Rated Amperage |  | Total ESP | 1.5
Service Factor
Drive Data
Motor Sheave Size / Bore
Fan Sheave Size / Bore
Belt CL Distance
No. Belts / Size

## RTU-27 TRAVERSE
National TAB
Project: Galley On Levee
Address: 1 Levee Way Suite P-12 Newport, KY 41071
System | Location | Duct Size | Area Sq ft | Duct SP | Temp | Design Vel | Design CFM | Prelim Vel | Prelim CFM | Final Vel | Final CFM

## RTU-28
National TAB
Project: Galley On Levee
Address: 1 Levee Way Suite P-12 Newport, KY 41071
Asset: RTU-28 (DOAS)
Unit Data |  | Test Data
Manufacturer | CAPTIVEAIRE |  | Design | Actual
Model Num | CASRTU4-I.500-20-30T | SF CFM | 4885
Serial Num |  | SF RPM
Configuration | VERTICAL | RA CFM | 3905
|  | OA CFM | 980
RL VOLTAGE
Num PreFilter |  | RL AMPERAGE
PreFilter Size |  | OA Damper Position
Brake Horsepower
Motor Data |  | Performance Data
Motor MFG |  |  | Design | Actual
Frame |  | Fan Suction SP
Horsepower | 5 | Fan Discharge SP
Motor RPM |  | Fan Total SP
Phase | 3 | DX Coil PD * |  | *
Rated Voltage | 480 | Pre Filter PD |  | *combined
Rated Amperage |  | Total ESP | 1.5
Service Factor

## RTU-28 SGRD
National TAB
Project: Galley On Levee
Address: 1 Levee Way Suite P-12 Newport, KY 41071
Asset: RTU-28 SUPPLY & RETURN
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
28-1 | 116 | CD-1 | 10 | 450 |  |  | 0
28-2 | 116 | CD-1 | 10 | 445 |  |  | 0
28-3 | 109 | CD-1 | 10 | 355 |  |  | 0
28-4 | 117 | CD-1 | 10 | 450 |  |  | 0
28-5 | 117 | CD-1 | 10 | 445 |  |  | 0
28-6 | 118 | CD-1 | 10 | 450 |  |  | 0
28-7 | 118 | CD-1 | 10 | 445 |  |  | 0
28-8 | 110 | CD-1 | 10 | 170 |  |  | 0
28-9 | 113 | CD-1 | 8 | 100 |  |  | 0
28-10 | 112 | CD-1 | 8 | 100 |  |  | 0
28-11 | 108 | CD-1 | 8 | 400 |  |  | 0
28-12 | 115 | CD-1 | 10 | 450 |  |  | 0
28-13 | 106 | CD-1 | 8 | 50 |  |  | 0
28-14 | 107 | CD-1 | 6 | 30 |  |  | 0
28-15 | 105 | CD-1 | 8 | 100 |  |  | 0
28-16 | 115 | CD-1 | 10 | 445 |  |  | 0
SUPPLY |  |  |  | 4885 |  | 0 | 0
R1-1 | 108 | RG-1 | 12X12 | 400 |  |  | 0
R1-2 | 105 | RG-3 | 8 | 100 |  |  | 0
R1-3 | 109 | RG-1 | 12X12 | 355 |  |  | 0
R1-4 | 111 | RG-1 | 18X18 | 1600 |  |  | 0
R1-5 | 111 | RG-1 | 18X18 | 1600 |  |  | 0
R1-6 | 110 | RG-1 | 10X10 | 170 |  |  | 0
RETURN |  |  |  | 4225 |  | 0 | 0

## EF-1
National TAB
Project: Galley On Levee
Address: 1 Levee Way Suite P-12 Newport, KY 41071
Asset: EF-1 |  |  | Area: RESTROOMS
Unit Data |  |  |  |  | Test Data
MFG |  | GREENHECK |  |  |  | Design | Actual
Model Num |  | G-090-VG |  |  | CFM | 500
Serial Num |  |  |  |  | Fan RPM | 1447
Type |  | CRE DNBLAST |  |  | RL Voltage | 120
[5 empty] | RL Amperage | 1.5
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.35
Frame
Horsepower |  | 0.1
Motor Rpm
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated) |  | 1.5
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E1-1 | 112 | CD-1 |  | 100 |  |  | 0
E1-2 | 113 | CD-1 |  | 100 |  |  | 0
|  |  |  | 200 |  | 0 | 0
-

## EF-2
National TAB
Project: Galley On Levee
Address: 1 Levee Way Suite P-12 Newport, KY 41071
Asset: EF-2 |  | Area: TRASH 106
Unit Data |  |  | Test Data
MFG | GREENHECK |  |  | Design | Actual
Model Num | SP-A190 |  | CFM | 150
Serial Num |  |  | Fan RPM | 1400
Type | CRE DNBLAST |  | RL Voltage | 120
|  |  | RL Amperage | 0.45
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.2
Frame
Horsepower | 48W
Motor Rpm
Phase | 1
Voltage (rated) | 120
Amperage (rated) | 0.45
Service Factor
-