## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
HP-1 | DINING | 1130 |  | 830 | 0 | 300 |  | 26.55% | #DIV/0!
HP-2 | DISHWARE/RR | 1510 |  | 1185 | 0 | 325 |  | 21.52% | #DIV/0!
HP-3 | KITCHEN | 1520 |  | 1195 | 0 | 325 |  | 21.38% | #DIV/0!
HP-4 | STORAGE W | 600 |  | 600 | 0 | 0 |  | 0% | #DIV/0!
HP-5 | STORAGE N | 600 |  | 600 | 0 | 0 |  | 0% | #DIV/0!
HP-6 | STORAGE E | 600 |  | 600 | 0 | 0 |  | 0% | #DIV/0!
HP-7 | OFFICE | 160 |  | 160 | 0 | 0 |  | 0% | #DIV/0!
KXF-1 | KITCHEN | [12 empty] | 400
TXF-1 | TOILET | [12 empty] | 750
TOTALS |  | 6120 | 0 | 5170 | 0 | 950 | 0 |  |  | 0 | 0 | 0 | 0 | 1150 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 950 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1150 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -200 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0