## SUMMARY (2)
AIR BALANCE SCHEDULE
| HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-2 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-3 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-4 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-5 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-6 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-7 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-8 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-9 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-10 | 10000 |  | 7750 | 0 | 2250 |  | 22.5% | #DIV/0!
RTU-11 | 3000 |  | 2100 | 0 | 900 |  | 30% | #DIV/0!
RTU-12 | 3000 |  | 2100 | 0 | 900 |  | 30% | #DIV/0!
EF-3 | [12 empty] | 400
EF-4 | [12 empty] | 100
EF-6 | [12 empty] | 700
TOTALS | 106000 | 0 | 81700 | 0 | 24300 | 0 |  |  | 0 | 0 | 0 | 0 | 1200 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA | 24300 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST | 1200 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW | 23100 | 0 |  | REAR | [10 empty] | #DIV/0!
|  |  |  | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0
HD | [13 empty] | 0