## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | SALES FLOOR | 25000 |  | 21440 | 0 | 3560 |  | 14.24% | #DIV/0!
AC-2 | DELI | 1200 |  | 900 | 0 | 300 |  | 25% | #DIV/0!
AC-3 | CONTROL ROOM | 1200 |  | 900 | 0 | 300 |  | 25% | #DIV/0!
AC-4 | PHARMACY | 4500 |  | 4500 | 0 | 0 |  | 0% | #DIV/0!
EF-1 | DELI HOOD | [10 empty] | 1800
EF-2 | DISH WASHER | [10 empty] | 450
EF-3 | PAN WASHER | [10 empty] | 300
EF-4 | BAKERY HOOD | [10 empty] | 600
EF-5 | BAKERY OVENS | [12 empty] | 800
EF-6 | BAKERY OVENS | [12 empty] | 800
EF-7 | RESTROOM | [12 empty] | 100
EF-8 | JANITOR ROOM | [12 empty] | 100
EF-9 | MEAT CUT + WRAP | [12 empty] | 450
EF-10 | FLOWER STORAGE | [12 empty] | 100
EF-11 | RESTROOMS | [12 empty] | 600
EF-12 | BAKERY | [12 empty] | 4500
TOTALS |  | 31900 | 0 | 27740 | 0 | 4160 | 0 |  |  | 0 | 0 | 3150 | 0 | 7450 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 4160 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 10600 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -6440 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0