## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | KITCHEN | 3300 |  | 0 | 0 | 3300 |  | 100% | #DIV/0!
RTU-2 | KITCHEN | 3300 |  | 0 | 0 | 3300 |  | 100% | #DIV/0!
RTU-3 | DINING/RESTROOMS | 3300 |  | 1400 | 0 | 1900 |  | 57.58% | #DIV/0!
RTU-4 | DINING/BAR | 3300 |  | 1400 | 0 | 1900 |  | 57.58% | #DIV/0!
EF-1 | KITCHEN HD 1 | [10 empty] | 1500
EF-2 | KITCHEN HD 2 | [10 empty] | 1700
EF-3 | KITCHEN HD 3 | [10 empty] | 2125
EF-4 | KITCHEN HD 4 | [10 empty] | 2125
EF-5 | KITCHEN HD 5&6 | [10 empty] | 1800
EF-6 | RESTROOM | [12 empty] | 750
TOTALS |  | 13200 | 0 | 2800 | 0 | 10400 | 0 |  |  | 0 | 0 | 9250 | 0 | 750 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 10400 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 10000 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 400 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390