## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | Kitchen | 4000 |  | 2950 | 0 | 1050 |  | 26.25% | #DIV/0!
RTU-2 | Dinning | 5000 |  | 3150 | 0 | 1850 |  | 37% | #DIV/0!
RTU-3 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-4 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-5 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-6 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-7 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-8 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-9 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-10 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-11 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-12 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-13 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-14 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-15 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
RTU-16 |  |  |  | 0 | 0 |  |  | #DIV/0! | #DIV/0!
MUA-1
MUA-1
EF-1 | Hood-1 | [10 empty] | 1140
EF-2 | Hood-2 | [10 empty] | 1150
EF-3 | Restroom | [10 empty] | 200
FCU-1 | office | 350 |  | 350 |  | 0
EF-5
EF-6
EF-1
EF-2
EF-3
EF-4
EF-5
EF-6
TOTALS |  | 9350 | 0 | 6450 | 0 | 2900 | 0 |  |  | 0 | 0 | 2490 | 0 | 0 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 2900 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 2490 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 410 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
KITCHEN PRESSURIZATION (MUST BE NEGATIVE)
TOTALS |  | DESIGN | ACTUAL
TOTAL KITCHEN OA |  | 0
TOTAL KITCHEN EXHAUST |  | 0
NET AIRFLOW |  | 0 | 0
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0