## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-1 | DINING NORTH | 1000 |  | 700 | 0 | 300 |  | 30% | #DIV/0!
AHU-2 | DINING SOUTH | 800 |  | 550 | 0 | 250 |  | 31.25% | #DIV/0!
AHU-3 | KITCHEN ROH | 1200 |  | 1025 | 0 | 175 |  | 14.58% | #DIV/0!
AHU-4 | KITCHEN BOH | 1050 |  | 875 | 0 | 175 |  | 16.67% | #DIV/0!
OKT-02 | KITCHEN HD | [8 empty] | 1300
OKT-04 | KITCHEN HD | [10 empty] | 2100
EF-1 | RESTROOM | [12 empty] | 150
TOTALS |  | 4050 | 0 | 3150 | 0 | 900 | 0 |  |  | 1300 | 0 | 2100 | 0 | 150 | 0
[16 empty] | FALSE | TRUE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0 | #DIV/0! | #DIV/0! | FALSE
TOTAL OA |  | 2200 | 0 |  | FRONT
TOTAL EXHAUST |  | 2250 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0! | #DIV/0!
NET AIRFLOW |  | -50 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0