## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 4100 |  | 4100 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 4400 |  | 4400 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 4805 |  | 4805 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 5075 |  | 5075 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 5095 |  | 5095 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 3945 |  | 3945 | 0 | 0 |  | 0% | #DIV/0!
RTU-9 | SALES | 3900 |  | 3680 | 0 | 220 |  | 5.641% | #DIV/0!
RTU-10 | PHARMACY | 2515 |  | 2012 | 0 | 503 |  | 20% | #DIV/0!
RTU-11 | DELI | 2425 |  | 2328 | 0 | 97 |  | 4% | #DIV/0!
RTU-12 | BAKERY | 1900 |  | 1824 | 0 | 76 |  | 4% | #DIV/0!
RTU-13 | BACKROOM | 1600 |  | 1392 | 0 | 208 |  | 13% | #DIV/0!
RTU-14 | BACKROOM | 1600 |  | 1344 | 0 | 256 |  | 16% | #DIV/0!
RTU-15 | DOCK | 3500 |  | 2765 | 0 | 735 |  | 21% | #DIV/0!
RTU-16 | BACK OFFICES | 2455 |  | 1988 | 0 | 467 |  | 19.02% | #DIV/0!
RTU-17 | PICKUP | 3060 |  | 2570 | 0 | 490 |  | 16.01% | #DIV/0!
RTU-18 | VESTIBLE | 2500 |  | 2350 | 0 | 150 |  | 6% | #DIV/0!
RTU-19 | VESTIBLE | 2500 |  | 2350 | 0 | 150 |  | 6% | #DIV/0!
DOAS1 | SALES OA | 4200 |  | 1995 | 0 | 2205 |  | 52.5% | #DIV/0!
DOAS2 | SALES OA | 4200 |  | 1995 | 0 | 2205 |  | 52.5% | #DIV/0!
EF-4 | HOOD 1 | [10 empty] | 2400
EF-9 | BAKERY OVEN | [10 empty] | 600
EF-10 | BAKERY OVEN | [10 empty] | 600
EF-1 | CUSTOMER RR | [12 empty] | 700
EF-2 | FAMILY | [12 empty] | 300
EF-3 | EMPLOYEE RR | [12 empty] | 500
EF-5 | ELEC. CLOSET | [12 empty] | 800
EF-6 | ELECTRICAL | [12 empty] | 800
EF-7 | SEAFOOD | [12 empty] | 700
EF-8 | CLEANING CENTER | [12 empty] | 200
TOTALS |  | 73775 | 0 | 66013 | 0 | 7762 | 0 |  |  | 0 | 0 | 3600 | 0 | 4000 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 7762 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7600 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 162 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0