## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | ADULT BEVERAGE | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
RTU-2 | PET AISLE | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
RTU-3 | SNACK AISLE | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
RTU-4 | APPAREL AISLE | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
RTU-5 | FLORAL PREP | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
RTU-6 | RETAIL | 10500 |  | 7900 | 0 | 2600 |  | 24.76% | #DIV/0!
RTU-7 | FOH | 8000 |  | 6800 | 0 | 1200 |  | 15% | #DIV/0!
RTU-8 | PRODUCE | 3200 |  | 2400 | 0 | 800 |  | 25% | #DIV/0!
RTU-9 | UTILITY | 1600 |  | 1200 | 0 | 400 |  | 25% | #DIV/0!
RTU-10 | RESTROOMS | 1200 |  | 900 | 0 | 300 |  | 25% | #DIV/0!
RTU-11 | EMPLOYEE AREA | 2400 |  | 2000 | 0 | 400 |  | 16.67% | #DIV/0!
RTU-12 | EMPLOYEE AREA | 1600 |  | 1200 | 0 | 400 |  | 25% | #DIV/0!
RTU-13 | ENTRANCE | 2800 |  | 2300 | 0 | 500 |  | 17.86% | #DIV/0!
RTU-14 | BOH | 4000 |  | 3400 | 0 | 600 |  | 15% | #DIV/0!
RTU-15 | BAKERY | 3600 |  | 2800 | 0 | 800 |  | 22.22% | #DIV/0!
RTU-16 | DELI HD's | 4000 |  | 3000 | 0 | 1000 |  | 25% | #DIV/0!
RTU-17 | PICKUP | 2400 |  | 1850 | 0 | 550 |  | 22.92% | #DIV/0!
RTU-18 | PHARMACY | 2400 |  | 1900 | 0 | 500 |  | 20.83% | #DIV/0!
EF-K1 | DELI HD's | [10 empty] | 2700
EF-FR1 | FAMILY RR 1&2 | [12 empty] | 300
EF-FR2 | FAMILY RR 3&4 | [12 empty] | 300
EF-G1 | BAKERY PREP | [12 empty] | 900
EF-G2 | BAKERY PREP | [12 empty] | 900
EF-S | SEAFOOD PREP | [12 empty] | 600
EF-8 | RESTROOMS | [12 empty] | 600
EF-10 | E BACKROOM | [12 empty] | 600
EF-11 | W BACKROOM | [12 empty] | 200
EF-12 | BOH | [12 empty] | 200
TOTALS |  | 72700 | 0 | 56650 | 0 | 16050 | 0 |  |  | 0 | 0 | 2700 | 0 | 4600 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 16050 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7300 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 8750 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0