## CASE 1
AIR BALANCE SCHEDULE
|  | AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | MODEL | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | KGA092 | DINING | 3000 |  | 2500 | 0 | 500 |  | 16.67% | #DIV/0!
RTU-2 | KGA092 | DINING | 3000 |  | 2500 | 0 | 500 |  | 16.67% | #DIV/0!
RTU-3 | KGA150 | KITCHEN | 5000 |  | 4050 | 0 | 950 |  | 19% | #DIV/0!
MUA-1 | A1.D250-G10 | [9 empty] | 1000
KEF-1 | NCA14FA | [11 empty] | 1700
KEF-2 | NCA8FA | [11 empty] | 850
EF-1 | GEMINI | [13 empty] | 150
EF-2 | GEMINI | [13 empty] | 150
TOTALS |  |  | 11000 | 0 | 9050 | 0 | 1950 | 0 |  |  | 1000 | 0 | 2550 | 0 | 300 | 0
NET BUILDING AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  |  | 2950 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  |  | 2850 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  |  | 100 | 0 |  | REAR | [10 empty] | #DIV/0!
[6 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT |  | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0

## DESIGN BASIS
AIR BALANCE SCHEDULE
|  | AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | MODEL | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | KGA092 | DINING | 3000 |  | 2575 | 0 | 425 |  | 14.17% | #DIV/0!
RTU-2 | KGA092 | DINING | 3000 |  | 2575 | 0 | 425 |  | 14.17% | #DIV/0!
RTU-3 | KGA150 | KITCHEN | 5000 |  | 4050 | 0 | 950 |  | 19% | #DIV/0!
MUA-1 | A1.D250-G10 | [9 empty] | 1800
KEF-1 | NCA14FA | [11 empty] | 2200
KEF-2 | NCA8FA | [11 empty] | 850
EF-1 | - | [13 empty] | 150
EF-2 | - | [13 empty] | 150
TOTALS |  |  | 11000 | 0 | 9200 | 0 | 1800 | 0 |  |  | 1800 | 0 | 3050 | 0 | 300 | 0
NET BUILDING AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  |  | 3600 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  |  | 3350 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  |  | 250 | 0 |  | REAR | [10 empty] | #DIV/0!
[6 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT |  | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0
HD | [15 empty] | 0