## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HOOD ON OA |  | HOOD OFF OA |  | HOOD ON EXHAUST |  | HOOD OFF EXHAUST
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU 1 | SALES | 870 |  | 420
RTU-2 | SALES | 870 |  | 420
RTU-3 | BOH/KITCHEN | 870 |  | 420
RTU-4 | STORAGE | 100 |  | 100
EF-1 | WOMEN'S RR |  |  |  |  | 400 |  | 400
EF-2 | MEN'S RR |  |  |  |  | 600 |  | 600
EF-3 | HOOD |  |  |  |  | 1350 |  | 0
TOTALS |  | 2710 | 0 | 1360 | 0 | 2350 | 0 | 1000 | 0
HOODS ON
[10 empty] | TRUE | FALSE | FALSE
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL | [6 empty] | TRUE | FALSE | FALSE
TOTAL OA |  | 2710 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 2350 | 0 |  |  | SIDE |  |  |  | FALSE
NET AIRFLOW |  | 360 | 0 |  |  | REAR
AVERAGE
HOODS OFF
NET AIRFLOW CALCULATION | [5 empty] | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20)
TOTALS |  | DESIGN | ACTUAL
TOTAL OA |  | 1360 | 0 |  |  | FRONT
TOTAL EXHAUST |  | 1000 | 0 |  |  | SIDE
NET AIRFLOW |  | 360 | 0 |  |  | REAR
AVERAGE
NOTES: