## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
EX RTU-5 | OFFICE | 1600 |  | 1330 | 0 | 270 |  | 16.88% | #DIV/0!
EX RTU-6 | PICKUP | 1600 |  | 1360 | 0 | 240 |  | 15% | #DIV/0!
RTU-7 | VESTIBLE | 3000 |  | 2760 | 0 | 240 |  | 8% | #DIV/0!
RTU-8 | SALES | 5000 |  | 3750 | 0 | 1250 |  | 25% | #DIV/0!
RTU-9 | PHARMACY | 5000 |  | 3750 | 0 | 1250 |  | 25% | #DIV/0!
RTU-10 | ROOM | 1600 |  | 1360 | 0 | 240 |  | 15% | #DIV/0!
RTU-11 | PHARMA. | 2400 |  | 2040 | 0 | 360 |  | 15% | #DIV/0!
RTU-12 | ROOM | 2000 |  | 1800 | 0 | 200 |  | 10% | #DIV/0!
EF-RR | RESTROOM | [12 empty] | 500
EF-E | CLOSET | [12 empty] | 400
TOTALS |  | 22200 | 0 | 18150 | 0 | 4050 | 0 |  |  | 0 | 0 | 0 | 0 | 900 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4050 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 900 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 3150 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0