## AHU-3
National TAB
Project: CMS E.E. Waddell High Renovation
Address: 7030 Nations Ford Rd Charlotte, NC
Asset: AHU-3 |  | Area:
Supply Side |  |  | Exhaust Side
Unit Data |  |  | Unit Data
Manufacturer |  |  | Manufacturer
Model Number |  |  | Model Number
Serial Number |  |  | Serial Number
Configuration |  |  | Configuration
No. Pre Filters / Size |  |  | No. Pre Filters / Size
No. Pre Filters / Size |  |  | No. Pre Filters / Size
No. Pre Filters / Size |  |  | No. Pre Filters / Size
No. Final Filters / Size
No. Final Filters / Size
No. Final Filters / Size
Motor Data X |  |  | Motor Data X
Motor MFG / Frame |  |  | Motor MFG / Frame
Horsepower / RPM |  |  | Horsepower / RPM
Rated Volts / Phase |  |  | Rated Volts / Phase
Rated Amperage / SF |  |  | Rated Amperage / SF
Drive Data |  |  | Drive Data
Motor Sheave Size / Bore |  |  | Motor Sheave Size / Bore
Fan Sheave Size / Bore |  |  | Fan Sheave Size / Bore
Belt CL Distance |  |  | Belt CL Distance
No. Belts / Size |  |  | No. Belts / Size
Test Data |  |  | Test Data
| Design | Actual |  | Design | Actual
Supply CFM |  |  | Total CFM
Min OA CFM |  |  | Fan RPM
Return CFM |  |  | Operating HZ
Fan RPM |  |  | RL Voltage
Operating HZ |  |  | RL Amperage
RL Voltage |  |  | Motor B.H.P.
RL Amperage
Motor B.H.P.
Performance Data |  |  | Performance Data
| Design | Actual |  | Design | Actual
Suction S.P. |  |  | Suction S.P.
Discharge S.P. |  |  | Discharge S.P.
Total SP |  |  | Total SP
System S.P. Set Point
CW Coil P.D.
HW Coil P.D. |  |  | Heat Wheel P.D.
Final Filters P.D. |  |  | HW Coil P.D.
Heat Wheel P.D. |  |  | Heat Wheel P.D.
Heat Wheel P.D. |  |  | Pre Filters P.D.
Pre Filters P.D.
Total ESP |  |  | Total ESP

## GRDs
National TAB
Project: CMS E.E. Waddell High Renovation
Address: 7030 Nations Ford Rd Charlotte, NC
Asset | Location | Type | Size | DESIGN CFM | PRELIM CFM | FINAL CFM | % to design
VAV-1/301A
sgrd-1 | 301A | A | 12 | 400 | 52
sgrd-2 | 301A | A | 12 | 400 | 49
sgrd-3 | 301A | A | 12 | 450 | 53
|  |  |  | 1250 | 154
sgrd-1 | 301 | A | 12 | 460 | 58