## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | VENTILATION | 4300 |  | 0 | 0 | 4300 |  | 100% | #DIV/0!
DOAS-2 | HOOD MAKEUP | 3100 |  | 0 | 0 | 3100 |  | 100% | #DIV/0!
DOAS-3 | HOOD MAKEUP | 3100 |  | 0 | 0 | 3100 |  | 100% | #DIV/0!
WSHP-1 | ENTRY | 1920 |  | 1360 | 0 | 560 |  | 29.17% | #DIV/0!
WSHP-2 | EAST ENTRY | 2000 |  | 1440 | 0 | 560 |  | 28% | #DIV/0!
WSHP-3 | WEST ENTRY | 2600 |  | 2040 | 0 | 560 |  | 21.54% | #DIV/0!
WSHP-4 | MAIN DINING | 3200 |  | 2640 | 0 | 560 |  | 17.5% | #DIV/0!
WSHP-5 | BAR/RESTROOM | 3200 |  | 2640 | 0 | 560 |  | 17.5% | #DIV/0!
WSHP-6 | MAIN KITCHEN | 2500 |  | 2500 | 0 | 0 |  | 0% | #DIV/0!
WSHP-7 | MAIN SCULLERY | 1100 |  | 1100 | 0 | 0 |  | 0% | #DIV/0!
WSHP-8 | MEZZ PREP | 680 |  | 680 | 0 | 0 |  | 0% | #DIV/0!
WSHP-9 | MEZZ SCULLERY | 3200 |  | 3200 | 0 | 0 |  | 0% | #DIV/0!
WSHP-10 | IT | 1250 |  | 1250 | 0 | 0 |  | 0% | #DIV/0!
WSHP-11 | OFFICE/BREAK | 570 |  | 570 | 0 | 0 |  | 0% | #DIV/0!
WSHP-12 | MECH ROOM | 1600 |  | 1600 | 0 | 0 |  | 0% | #DIV/0!
KEF-1 | KITCHEN HD 1-4 | [10 empty] | 7752
DWEF-1 | KITCHEN HD 5 | [10 empty] | 1125
EF-1 | RESTROOMS | [12 empty] | 600
TOTALS |  | 34320 | 0 | 21020 | 0 | 13300 | 0 |  |  | 0 | 0 | 8877 | 0 | 600 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 13300 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 9477 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 3823 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0