## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-1 | DINING | 2490 |  | 1790 | 0 | 700 |  | 28.11% | #DIV/0!
AHU-2 | DINING | 1020 |  | 620 | 0 | 400 |  | 39.22% | #DIV/0!
AHU-3 | DINING/BAR | 2050 |  | 1450 | 0 | 600 |  | 29.27% | #DIV/0!
AHU-4 | KITCHEN | 2490 |  | 1990 | 0 | 500 |  | 20.08% | #DIV/0!
AHU-5 | KITCHEN | 2490 |  | 1990 | 0 | 500 |  | 20.08% | #DIV/0!
AHU-6 | REAR KITCHEN | 2050 |  | 1450 | 0 | 600 |  | 29.27% | #DIV/0!
MUA-1 | COOKLINE | [8 empty] | 5120
EF-1 | HOODS 1,2,3 | [10 empty] | 6400
EF-2 | HOOD 4 | [10 empty] | 950
EF-3 | RESTROOM | [12 empty] | 500
TOTALS |  | 12590 | 0 | 9290 | 0 | 3300 | 0 |  |  | 5120 | 0 | 7350 | 0 | 500 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 8420 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 7850 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 570 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0