## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | REAR SALES | 3250 |  | 2600 | 0 | 650 |  | 20% | #DIV/0!
RTU-2 | FRONT SALES | 4875 |  | 4150 | 0 | 725 |  | 14.87% | #DIV/0!
RTU-3 | PHARMACY | 1600 |  | 1360 | 0 | 240 |  | 15% | #DIV/0!
RTU-4 | LIQUOR STORE | 1625 |  | 1525 | 0 | 100 |  | 6.154% | #DIV/0!
EF-1 | STOCK ROOM | [12 empty] | 2058
EF-2 | RESTROOMS | [12 empty] | 300
EF-3 | EMPLOYEE OFFICE | [12 empty] | 255
EF-4 | EMPLOYEE BREAK RM | [12 empty] | 110
EF-5 | LIQUORE STOCK RM | [12 empty] | 450
EF-6 | SALES | [12 empty] | 790
EF-7 | PHARMACY | [12 empty] | 750
TOTALS |  | 11350 | 0 | 9635 | 0 | 1715 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 1715 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 0 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1715 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0