## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AHU-/CU-1 | DINING | 1600 |  | 1125 | 0 | 475 |  | 29.69% | #DIV/0!
AHU-/CU-2 | DINING | 1600 |  | 1125 | 0 | 475 |  | 29.69% | #DIV/0!
AHU-/CU-3 | SERVE | 1200 |  | 1080 | 0 | 120 |  | 10% | #DIV/0!
AHU-/CU-4 | WAREWASH/BOH | 1200 |  | 1055 | 0 | 145 |  | 12.08% | #DIV/0!
EF-1 | NORTH RR | [12 empty] | 70
EF-2 | SOUTH RR | [12 empty] | 70
EF-3 | HOOD | [10 empty] | 930 |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | 5600 | 0 | 4385 | 0 | 1215 | 0 |  |  | 0 | 0 | 930 | 0 | 140 | 0
[16 empty] | #DIV/0! | #DIV/0! | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1 | #DIV/0!
TOTAL OA |  | 1215 | 0 |  | FRONT
TOTAL EXHAUST |  | 1070 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 145 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0