## FCU-1-27
National TAB
Project: CW 3501 - FIRST TEXAS
Address: 3501 OLYMPUS BLVD STE 170
Asset: FCU-1-27 |  | Area: OPEN OFFICE 104
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 1300
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 120
[5 empty] | RA CFM | 1180
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
27-1 | 104 | C | 10 | 260 |  |  | 0
27-2 | 104 | C | 10 | 260 |  |  | 0
27-3 | 104 | C | 10 | 260 |  |  | 0
27-4 | 104 | C | 10 | 260 |  |  | 0
27-5 | 104 | C | 10 | 260 |  |  | 0
|  |  |  | 1300 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## FCU-1-28
National TAB
Project: CW 3501 - FIRST TEXAS
Address: 3501 OLYMPUS BLVD STE 170
Asset: FCU-1-28 |  | Area: BREAK/OFFICE/STORAGE 104
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 1270
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 180
[5 empty] | RA CFM | 1090
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
28-1 | 104 | A | 8 | 200 |  |  | 0
28-2 | 104 | A | 8 | 200 |  |  | 0
28-3 | 104 | A | 8 | 200 |  |  | 0
28-4 | 103 | A | 8 | 150 |  |  | 0
28-5 | 105 | A | 8 | 50 |  |  | 0
28-6 | 106 | A | 8 | 100 |  |  | 0
28-7 | 102 | A | 8 | 160 |  |  | 0
28-8 | 100 | A | 8 | 50 |  |  | 0
28-9 | 102 | A | 8 | 160 |  |  | 0
|  |  |  | 1270 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## FCU-1-29
National TAB
Project: CW 3501 - FIRST TEXAS
Address: 3501 OLYMPUS BLVD STE 170
Asset: FCU-1-29 |  | Area: CONFERENCE 101
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 220
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 50
[5 empty] | RA CFM | 170
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
29-1 | 101 | A | 8 | 220 |  |  | 0
|  |  |  | 220 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP