## Panel LDP
CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE |  |  | CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE
|  |  | A | B | C |  |  |  | A | B | C
1 | M1 | PANEL-M1 | 5062 |  |  | 2 | G1 | PANEL-L1 | 10175
3 | M1 | PANEL-M1 |  | 8243 |  | 4 | G1 | PANEL-L1 |  | 11397
5 | M1 | PANEL-M1 |  |  | 5335 | 6 | G1 | PANEL-L1 |  |  | 8200
7 | K1 | PANEL-G1 | 36477 |  |  | 8 | L1 | BOOSTER HEATER | 3476
9 | K1 | PANEL-G1 |  | 37485 |  | 10 | L1 | BOOSTER HEATER |  | 3361
11 | K1 | PANEL-G1 |  |  | 33319 | 12 | L1 | BOOSTER HEATER |  |  | 642
13 | SPARE | SPACE |  |  |  | 14 | SPARE | SPACE
15 | SPARE | SPACE |  |  |  | 16 | SPARE | SPACE
17 | SPARE | SPACE |  |  |  | 18 | SPARE | SPACE
19 | EQUIPPED SPACE | SPACE |  |  |  | 20 | SPARE | SPACE
21 | EQUIPPED SPACE | SPACE |  |  |  | 22 | SPARE | SPACE
23 | EQUIPPED SPACE | SPACE |  |  |  | 24 | SPARE | SPACE
25 |  | N/A |  |  |  | 26 |  | PANEL-K1
27 |  | N/A |  |  |  | 28 |  | PANEL-K1
29 |  | N/A |  |  |  | 30 |  | PANEL-K1
31 |  | N/A |  |  |  | 32 |  | PATIO HEATERS RELAY PANEL
33 |  | N/A |  |  |  | 34 |  | PATIO HEATERS RELAY PANEL
35 |  | N/A |  |  |  | 36 |  | PATIO HEATERS RELAY PANEL
37 |  | N/A |  |  |  | 38 |  | N/A
39 |  | N/A |  |  |  | 40 |  | N/A
41 |  | N/A |  |  |  | 42 |  | N/A
| Calculated | Design
TOTAL PHASE A-VA | 55190 | 55190
TOTAL PHASE B-VA | 60486 | 60845
TOTAL PHASE C-VA | 47496 | 47496
TOTAL PNLBD-VA | 163172 | 163531

## Panel MDP
CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE |  |  | CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE
|  |  | A | B | C |  |  |  | A | B | C
1 | TX-1 | DOAS-2 | 55190 |  |  | 2 | H1 | DOAS-1 | 57158
3 | TX-1 | DOAS-2 |  | 60845 |  | 4 | H1 | DOAS-1 |  | 57158
5 | TX-1 | DOAS-2 |  |  | 47496 | 6 | H1 | DOAS-1 |  |  | 57158
7 | DOAS-1 | DOAS-3 | 21578 |  |  | 8 | DOAS-2 | SPACE | 21366
9 | DOAS-1 | DOAS-3 |  | 21578 |  | 10 | DOAS-2 | SPACE |  | 21366
11 | DOAS-1 | DOAS-3 |  |  | 21578 | 12 | DOAS-2 | SPACE |  |  | 21366
13 | DOAS-3 | SPACE | 11911 |  |  | 14 | SPD | SPACE | 0
15 | DOAS-3 | SPACE |  | 11911 |  | 16 | SPD | SPACE |  | 0
17 | DOAS-3 | SPACE |  |  | 11911 | 18 | SPD | SPACE |  |  | 0
19 | EQUIPPED SPACE | SPACE |  |  |  | 20 | EQUIPPED SPACE | SPACE
21 | EQUIPPED SPACE | SPACE |  |  |  | 22 | EQUIPPED SPACE | SPACE
23 | EQUIPPED SPACE | SPACE |  |  |  | 24 | EQUIPPED SPACE | SPACE
25 |  | TRANSFORMER |  |  |  | 26 |  | PANEL-H1
27 |  | TRANSFORMER |  |  |  | 28 |  | PANEL-H1
29 |  | TRANSFORMER |  |  |  | 30 |  | PANEL-H1
31 |  | SPACE |  |  |  | 32 |  | SPACE
33 |  | SPACE |  |  |  | 34 |  | SPACE
35 |  | SPACE |  |  |  | 36 |  | SPACE
37 |  | N/A |  |  |  | 38 |  | N/A
39 |  | N/A |  |  |  | 40 |  | N/A
41 |  | N/A |  |  |  | 42 |  | N/A
| Calculated | Design
TOTAL PHASE A-VA | 167203 | 167204
TOTAL PHASE B-VA | 172858 | 172859
TOTAL PHASE C-VA | 159509 | 159509
TOTAL PNLBD-VA | 499570 | 499572

## Panel M1
CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE |  |  | CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE
|  |  | A | B | C |  |  |  | A | B | C
1 | WH-1 | WH-1 | 600 |  |  | 2 | BS-1 | BS-1 | 96
3 | WH-2 | WH-2 |  | 600 |  | 4 |  |  |  | 96
5 | DOAS CONTROLLER | DOAS CONTROLLER |  |  | 500 | 6 |  |  |  |  | 96
7 | SPARE | SPARE | 0 |  |  | 8 | BS-2 | BS-2 | 48
9 | 39.1-COOLER EVAP FAN | 39.1-COOLER EVAP FAN |  | 384 |  | 10 |  |  |  | 48
11 | WE-1 | WE-1 |  |  | 1104 | 12 |  |  |  |  | 48
13 | WE-2 | WE-2 | 1104 |  |  | 14 | WC-1 | WC-1 | 508
15 | BUG SCREEN-BAR DINING 1 | BUG SCREEN-BAR DINING 1 |  | 500 |  | 16 |  |  |  | 508
17 | BUG SCREEN-BAR DINING 2 | BUG SCREEN-BAR DINING 2 |  |  | 500 | 18 | 39.2-COOLER CONDENSER | 39.2-COOLER CONDENSER |  |  | 504
19 | BUG SCREEN-BAR DINING 3 | BUG SCREEN-BAR DINING 3 | 500 |  |  | 20 |  |  | 504
21 | BUG SCREEN-BAR DINING 4 | BUG SCREEN-BAR DINING 4 |  | 500 |  | 22 | WC-2 | WC-2 |  | 508
23 | BUG SCREEN-BAR DINING 5 | BUG SCREEN-BAR DINING 5 |  |  | 500 | 24 |  |  |  |  | 508
25 | FCU-2, 6, 7, 8, 14 | FCU-2, 6, 7, 8, 14 | 1478 |  |  | 26 | SPARE | SPARE | 0
27 |  |  |  | 1478 |  | 28 | EF-1 | EF-1 |  | 690
29 | FCU-1, 3, 4, 5 | SPARE |  |  | 854 | 30 | RP/TS | RP/TS |  |  | 528
31 |  | SPARE | 854 |  |  | 32 | PCU CONTROL PANEL | PCU CONTROL PANEL/HOOD CONTROL PANEL | 500
33 | FCU-9, 10, 11, 12, 13 | FCU-9, 10, 11, 12, 13 |  | 1124 |  | 34 | 39-COOLER LTGS/DOOR HEAT | 39-COOLER LTGS/DOOR HEAT |  | 1800
35 |  |  |  |  | 1124 | 36 |  | SPARE |  |  | 0
37 | FCU-15 | FCU-15 | 301 |  |  | 38 |  | SPARE | 0
39 |  |  |  | 301 |  | 40 | RCPT-ROOF | RCPT-ROOF |  | 720
41 | SPARE | FCU-1, 3, 4, 5 |  |  | 0 | 42 | RCPT-SERVICE CATWALK | RCPT-SERVICE CATWALK |  |  | 180
43 | SPARE |  |  |  |  | 44 | REC-WATER SOFTENER |  | 180
45 | SPARE |  |  |  |  | 46 | SPARE
47 | SPARE |  |  |  |  | 48 | SPARE
49 | SPARE |  |  |  |  | 50 | SPARE
51 | SPARE |  |  |  |  | 52 | SPARE
53 | SPARE |  |  |  |  | 54 | SPARE
| Calculated | Design
TOTAL PHASE A-VA | 6493 | 6675
TOTAL PHASE B-VA | 9257 | 9260
TOTAL PHASE C-VA | 6446 | 6947
TOTAL PNLBD-VA | 22196 | 22882

## Panel G1
CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE |  |  | CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE
|  |  | A | B | C |  |  |  | A | B | C
1 | HOST STAND | HOST STAND | 360 |  |  | 2 | SHOW WINDOW FRONT | SHOW WINDOW FRONT | 720
3 | AV/SERVER RACK | AV/SERVER RACK |  | 360 |  | 4 | SHOW WINDOW SIDE | SHOW WINDOW SIDE |  | 720
5 | DESK POWER-OFFICE | DESK POWER-OFFICE |  |  | 360 | 6 | RCPT-RESTROOM HALL | RCPT-RESTROOM HALL |  |  | 720
7 | CONV RCPT-PATIO 1 | CONV RCPT-PATIO 1 | 540 |  |  | 8 | RCPT-TOILET ROOMS | RCPT-TOILET ROOMS | 540
9 | CONV RCPT-OFFICE | CONV RCPT-OFFICE |  | 540 |  | 10 | RCPT-PDR 1 | RCPT-PDR 1 |  | 540
11 | CONV RCPT-DINING | CONV RCPT-DINING |  |  | 720 | 12 | RCPT-PDR 2 | RCPT-PDR 2 |  |  | 360
13 | CONV RCPT-MECH/ELEC RM | CONV RCPT-MECH/ELEC RM | 720 |  |  | 14 | RCPT-PDR 3 | RCPT-PDR 3 | 540
15 | CONV RCPT-BAR DINING | CONV RCPT-BAR DINING |  | 540 |  | 16 | TELEVISION-PDR 2 | TELEVISION-PDR 2 |  | 360
17 | DOOR BELL | DOOR BELL |  |  | 10 | 18 | TELEVISION-PDR 3 | TELEVISION-PDR 3 |  |  | 360
19 | BAR PLUGMOLD 1 | BAR PLUGMOLD 1 | 720 |  |  | 20 | FIRE ALARM POWER SUPPLY | FIRE ALARM POWER SUPPLY | 360
21 | BAR PLUGMOLD 2 | BAR PLUGMOLD 2 |  | 900 |  | 22 | CANDY COUNTER | CANDY COUNTER |  | 500
23 | BAR PLUGMOLD 3 | BAR PLUGMOLD 3 |  |  | 900 | 24 | TELEPHONE BACKBOARD | TELEPHONE BACKBOARD |  |  | 360
25 | BAR PLUGMOLD 4 | SPARE | 900 |  |  | 26 | SOUND SYSTEM | SOUND SYSTEM | 180
27 | BAR PLUGMOLD 5 | BAR PLUGMOLD 4 |  | 900 |  | 28 | SECURITY ALARM PANEL | SECURITY ALARM PANEL |  | 180
29 | PATIO FANS | PATIO FANS |  |  | 800 | 30 | SPARE | SPARE |  |  | 0
31 | PATIO SHADES A | PATIO SHADES A | 480 |  |  | 32 | MOTORIZED WINDOW 1 | MOTORIZED WINDOW 1 | 250
33 | PATIO SHADES B | PATIO SHADES B |  | 720 |  | 34 | MOTORIZED WINDOW 2 | MOTORIZED WINDOW 2 |  | 500
35 | PATIO SHADES C | PATIO SHADES C |  |  | 720 | 36 | LUTRON QP5 PANEL | LUTRON QP5 PANEL |  |  | 360
37 | PATIO UMBRELLA | PATIO UMBRELLA | 1505 |  |  | 38 | SPARE | SPARE | 0
39 |  |  |  | 1505 |  | 40 | BOH AIR CURTAIN | BOH AIR CURTAIN |  | 612
41 | SIGNAGE CONTACTOR 2 | SIGNAGE CONTACTOR 2 |  |  | 120 | 42 | LTG MONUMENT SIGN | LTG MONUMENT SIGN |  |  | 30
43 | CO2 SENSOR-STORAGE |  | 500 |  |  | 44 | DESK POWER-OFFICE II |  | 720
45 | SIGNAGE CONTACTOR 1 |  |  | 120 |  | 46 | CONV REC-OFFICE II |  |  | 540
47 | SIGNAGE-BUILDING |  |  |  | 1200 | 48 | PATIO FIRE PIT |  |  |  | 500
49 | SIGNAGE-PATIO 1 |  | 1200 |  |  | 50 | SPARE
51 | SIGNAGE-PATIO 1 |  |  | 1200 |  | 52 | SPARE
53 | SIGNAGE-PATIO 2 |  |  |  | 1200 | 54 | SPARE
55 | SIGNAGE-ROADWAY |  | 1200 |  |  | 56 | SPARE
57 | SIGNAGE-ENTRY |  |  | 1200 |  | 58 | SPARE
59 | SPARE |  |  |  | 0 | 60 | SPARE
| Calculated | Design
TOTAL PHASE A-VA | 7815 | 11435
TOTAL PHASE B-VA | 8877 | 11937
TOTAL PHASE C-VA | 5820 | 8720
TOTAL PNLBD-VA | 22512 | 32092

## Panel H1
CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE |  |  | CKT NO. | Design Description | Actual Description | VOLT AMP/PHASE
|  |  | A | B | C |  |  |  | A | B | C
1 | BOOSTER HEATER | SPARE | 12027 |  |  | 2 | PCU-1 (VIA HOOD-CONTROL PANEL) | PCU-1 (VIA HOOD-CONTROL PANEL) | 6316
3 |  | SPARE |  | 12027 |  | 4 |  |  |  | 6316
5 |  | SPARE |  |  | 12027 | 6 |  |  |  |  | 6316
7 | PATIO HEATER RELAY PANEL 1 | SPARE | 12000 |  |  | 8 | CU-1 (OUTDOOR MODULE 1) | CU-1 (OUTDOOR MODULE 1) | 7728
9 |  | SPARE |  | 12000 |  | 10 |  |  |  | 7728
11 |  | SPARE |  |  | 12000 | 12 |  |  |  |  | 7728
13 | PATIO HEATER RELAY PANEL 2 | SPARE | 10000 |  |  | 14 | CU-1 (OUTDOOR MODULE 2) | CU-1 (OUTDOOR MODULE 2) | 5845
15 |  | SPARE |  | 10000 |  | 16 |  |  |  | 5845
17 |  | SPARE |  |  | 10000 | 18 |  |  |  |  | 5845
19 | SPARE | SPARE |  |  |  | 20 | CU-1 (OUTDOOR MODULE 3) | CU-1 (OUTDOOR MODULE 3) | 5845
21 | SPARE | SPARE |  |  |  | 22 |  |  |  | 5845 | 5845
23 | SPARE | SPARE |  |  |  | 24
25 | SPARE | SPARE |  |  |  | 26 | EQUIPPED SPACE | SPARE
27 | SPARE | SPARE |  |  |  | 28 | EQUIPPED SPACE | SPARE
29 | SPARE | SPARE |  |  |  | 30 | EQUIPPED SPACE | SPARE
31 | EQUIPPED SPACE | SPARE |  |  |  | 32 | EQUIPPED SPACE | SPARE
33 | EQUIPPED SPACE | SPARE |  |  |  | 34 | EQUIPPED SPACE | SPARE
35 | EQUIPPED SPACE | SPARE |  |  |  | 36 | EQUIPPED SPACE | SPARE
37 | EQUIPPED SPACE | SPARE |  |  |  | 38 | EQUIPPED SPACE | SPARE
39 | EQUIPPED SPACE | SPARE |  |  |  | 40 | EQUIPPED SPACE | SPARE
41 | EQUIPPED SPACE | SPARE |  |  |  | 42 | EQUIPPED SPACE | SPARE
| Calculated | Design
TOTAL PHASE A-VA | 59761 | 59760
TOTAL PHASE B-VA | 59761 | 59760
TOTAL PHASE C-VA | 59761 | 59760
TOTAL PNLBD-VA | 179283 | 179280