## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-2 | DINING | 5000 |  | 4000 | 0 | 1000 |  | 20% | #DIV/0!
RTU-3 | KITCHEN | 4000 |  | 3400 | 0 | 600 |  | 15% | #DIV/0!
MUA-3 | HD 1 / HD 2 | [8 empty] | 3842
MUA-5 | HOOD 3 | [8 empty] | 1940
MUA-7 | HOOD 4 | [8 empty] | 5050
EF-1 | HOOD 1 | [10 empty] | 2897
EF-2 | HOOD 2 | [10 empty] | 3094
EF-4 | HOOD 3 | [10 empty] | 2720
EF-6 | HOOD 4 | [10 empty] | 2812
EF-8 | HOOD 5 | [10 empty] | 1050
TEF-1 | RESTROOMS | [12 empty] | 500
TOTALS |  | 13000 | 0 | 10600 | 0 | 2400 | 0 |  |  | 10832 | 0 | 12573 | 0 | 500 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 13232 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 13073 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 159 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0