## ERV-
National TAB
Project: Fieldstone @ Chester Springs ALF
Address: 145 Byers Rd Chester Springs, PA
Asset: ERU-1
Supply Side |  |  | Exhaust Side
Unit Data |  |  | Unit Data
Manufacturer | DAIKIN |  | Manufacturer | DAIKIN
Model Number | DPS020A |  | Model Number | DPS020A
Serial Number |  |  | Serial Number
Configuration |  |  | Configuration
No. Outdoor Filters / Size | 2 / 18x24x2 |  | No. Exhaust Filters / Size | 2 / 18x24x2
Motor Data |  |  | Motor Data
Motor MFG / Frame |  |  | Motor MFG / Frame
Horsepower / RPM | 7.5 / |  | Horsepower / RPM | 5.0 /
Rated Volts / Phase | 460 / 3 |  | Rated Volts / Phase | 460 / 3
Rated Amperage / SF |  |  | Rated Amperage / SF
Test Data |  |  | Test Data
| Design | Actual |  | Design | Actual
Total CFM | 6720 |  | Total CFM | 7615
Fan RPM | 2083 |  | Fan RPM | 1603
VFD Speed |  |  | VFD Speed
RL Voltage | 460 |  | RL Voltage | 460
RL Amperage |  |  | RL Amperage
Motor B.H.P. |  |  | Motor B.H.P.
Performance Data |  |  | Performance Data
| Design | Actual |  | Design | Actual
Suction S.P. |  |  | Suction S.P.
Discharge S.P. |  |  | Discharge S.P.
Total SP |  |  | Total SP
Cooling Coil P.D. |  |  | Cooling Coil P.D.
Heating Coil P.D. |  |  | Heating Coil P.D.
Heat Exchanger P.D. |  |  | Heat Exchanger P.D.
Heat Wheel P.D. |  |  | Heat Wheel P.D.
Pre Filters P.D. |  |  | Pre Filters P.D.
Total ESP |  |  | Total ESP
EAT Summer DB / WB |  |  | EAT Summer DB / WB
LAT Summer DB / WB |  |  | LAT Summer DB / WB
EAT Winter DB / WB |  |  | EAT Winter DB / WB
LAT Winter DB / WB |  |  | LAT Winter DB / WB