## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | DINING 1 | 8000 |  | 6700 | 0 | 1300 |  | 16.25% | #DIV/0!
AC-2 | BAR | 8000 |  | 6700 | 0 | 1300 |  | 16.25% | #DIV/0!
AC-3 | DINING 2 | 8000 |  | 6700 | 0 | 1300 |  | 16.25% | #DIV/0!
AC-4 | KITCHEN | 8000 |  | 6700 | 0 | 1300 |  | 16.25% | #DIV/0!
MUA-1 | KITCHEN HD's | [8 empty] | 10790
EF-1 | KITCHEN HD 4&5 | [10 empty] | 5000
EF-2 | KITCHEN HD 6&7 | [10 empty] | 4200
EF-3 | KITCHEN HD 1&2 | [10 empty] | 3800
EF-4 | KITCHEN HD 3 | [10 empty] | 1400
EF-5 | JANITORS CLOSET | [12 empty] | 750
EF-6 | MECH ROOM | [12 empty] | 300
TOTALS |  | 32000 | 0 | 26800 | 0 | 5200 | 0 |  |  | 10790 | 0 | 14400 | 0 | 1050 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 15990 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 15450 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 540 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0