## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | KITCHEN | 8000 |  | 6200 | 0 | 1800 |  | 22.5% | #DIV/0!
AC-2 | SIDE DINNING | 2830 |  | 2080 | 0 | 750 |  | 26.5% | #DIV/0!
AC-3 | DRIVE THRU | 4000 |  | 3000 | 0 | 1000 |  | 25% | #DIV/0!
AC-4 | MAIN DINNING | 2765 |  | 2165 | 0 | 600 |  | 21.7% | #DIV/0!
AC-5 | PLAY AREA | 1800 |  | 1500 | 0 | 300 |  | 16.67% | #DIV/0!
AHU-1 | BOH | 625 |  | 600 | 0 | 25 |  | 4% | #DIV/0!
EF-1 | HD 1 | [10 empty] | 1913
EF-2 | HD 2 & 3 | [10 empty] | 1402
EF-3 | RESTROOM | [12 empty] | 400
EF-4 | HD 3
EF-5
TOTALS |  | 20020 | 0 | 15545 | 0 | 4475 | 0 |  |  | 0 | 0 | 3315 | 0 | 400 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4475 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3715 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 760 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390