## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | SALES OA | 2645 |  | 0 | 0 | 2645 |  | 100% | #DIV/0!
DOAS-2 | SALES OA | 2645 |  | 0 | 0 | 2645 |  | 100% | #DIV/0!
RTU-1 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-5 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-6 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-7 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-8 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-9 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-10 | SALES | 5000 |  | 5000 | 0 | 0 |  | 0% | #DIV/0!
RTU-11 | PHARM. | 4000 |  | 3650 | 0 | 350 |  | 8.75% | #DIV/0!
RTU-12 | OFFICES | 1200 |  | 1100 | 0 | 100 |  | 8.333% | #DIV/0!
RTU-13 | TLC | 1200 |  | 1000 | 0 | 200 |  | 16.67% | #DIV/0!
RTU-14 | VESTIBULES | 5000 |  | 4725 | 0 | 275 |  | 5.5% | #DIV/0!
RTU-15 | SEATING | 2400 |  | 1800 | 0 | 600 |  | 25% | #DIV/0!
RTU-16 | DELI | 4000 |  | 3300 | 0 | 700 |  | 17.5% | #DIV/0!
RTU-17 | BAKERY | 2050 |  | 1800 | 0 | 250 |  | 12.2% | #DIV/0!
RTU-18 | BACKROOM | 2000 |  | 1700 | 0 | 300 |  | 15% | #DIV/0!
RTU-19 | BACKROOM | 2000 |  | 1700 | 0 | 300 |  | 15% | #DIV/0!
RTU-20 | DOCK | 4000 |  | 3350 | 0 | 650 |  | 16.25% | #DIV/0!
RTU-21 | BACK OFFICES | 3000 |  | 2650 | 0 | 350 |  | 11.67% | #DIV/0!
RTU-22 | PICKUP | 3000 |  | 2700 | 0 | 300 |  | 10% | #DIV/0!
EF-G1 | OVEN | [10 empty] | 900
EF-G2 | OVEN | [10 empty] | 900
EF-K1 | HOOD | [10 empty] | 2400
EF-K2 | HOOD | [10 empty] | 750
EF-CC | CLEANING | [10 empty] | 600
EF-E1 | ELEC.RM. | [10 empty] | 800
EF-E2 | ELEC. CLOSET | [10 empty] | 600
EF-R1 | ASSOC. RR | [12 empty] | 300
EF-R2 | CUST. RR | [12 empty] | 500
EF-R3 | RX/TLC | [12 empty] | 200
EF-S | SEAFOOD | [12 empty] | 800
TOTALS |  | 89140 | 0 | 79475 | 0 | 9665 | 0 |  |  | 0 | 0 | 6950 | 0 | 1800 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 9665 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 8750 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 915 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0