## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 4100 |  | 3140 | 0 | 960 |  | 23.41% | #DIV/0!
RTU-2 | DINING | 3200 |  | 2440 | 0 | 760 |  | 23.75% | #DIV/0!
RTU-3 | KITCHEN | 5000 |  | 4400 | 0 | 600 |  | 12% | #DIV/0!
MUA-1 | COOKLINE | [8 empty] | 4450
EF-1 | HD1 RANGE | [10 empty] | 2700
EF-2 | HD2 GRIDDLE/FRYER | [10 empty] | 2250
EF-3 | HD3 DISH | [10 empty] | 900
EF-4 | TOILET ROOMS | [12 empty] | 360
EF-5 | DINING | [12 empty] | 400
EF-6 | EMP. RR | [12 empty] | 100
EF-7 | EMP.RR | [12 empty] | 100
TOTALS |  | 12300 | 0 | 9980 | 0 | 2320 | 0 |  |  | 4450 | 0 | 5850 | 0 | 960 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 6770 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 6810 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -40 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0