## FPB's
National TAB
Project: OAP - Populous 112 (Dallas, TX)
Address: 1722 Routh Street Suite 112
Asset: Parallel Fan Powered Boxes
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Min CFM | Design Fan + Heat CFM | Actual Fan + Heat CFM | Ak (max)
FP1-1 |  |  |  | 14 | 1500 |  | 375 |  | 1050
FP1-2 |  |  |  | 12 | 1500 |  | 375 |  | 1050
FP1-3 |  |  |  | 12 | 600 |  | 150 |  | 420
FP1-4 |  |  |  | 14 | 1250 |  | 312.5 |  | 875
FP1-5 |  |  |  | 12 | 1500 |  | 375 |  | 1050
FP1-6 |  |  |  | 12 | 1500 |  | 375 |  | 1050
FP1-7 |  |  |  | 12 | 750 |  | 187.5 |  | 525
Note on C7: NTAB: BILLINGSLEY ONLY
Note on J7: NTAB: Fan PLUS Heat CFM

## FPB SGRD (1)
National TAB
Project: OAP - Populous 112 (Dallas, TX)
Address: 1722 Routh Street Suite 112
Asset: FPB SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F1-1 |  | C | 14 | 750 |  |  | 0
F1-1 |  | C | 14 | 750 |  |  | 0
FP1-1 |  |  |  | 1500 |  | 0 | 0
F2-1 |  | C | 14 | 750 |  |  | 0
F2-2 |  | C | 14 | 750 |  |  | 0
FP1-2 |  |  |  | 1500 |  | 0 | 0
F3-1 |  | C | 8 | 300 |  |  | 0
F3-2 |  | C | 8 | 300 |  |  | 0
FP1-3 |  |  |  | 600 |  | 0 | 0
F4-1 |  | C | 8 | 250 |  |  | 0
F4-2 |  | C | 8 | 250 |  |  | 0
F4-3 |  | C | 8 | 250 |  |  | 0
F4-4 |  | C | 8 | 250 |  |  | 0
F4-5 |  | C | 8 | 250 |  |  | 0
FP1-4 |  |  |  | 1250 |  | 0 | 0
F5-1 |  | C | 14 | 750 |  |  | 0
F5-2 |  | C | 14 | 750 |  |  | 0
FP1-5 |  |  |  | 1500 |  | 0 | 0
F6-1 |  | C | 10 | 500 |  |  | 0
F6-2 |  | C | 10 | 500 |  |  | 0
F6-3 |  | C | 10 | 500 |  |  | 0
FP1-6 |  |  |  | 1500 |  | 0 | 0

## FPB SGRD (2)
National TAB
Project: OAP - Populous 112 (Dallas, TX)
Address: 1722 Routh Street Suite 112
Asset: FPB SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
F7-1 |  | C | 8 | 250 |  |  | 0
F7-2 |  | C | 8 | 250 |  |  | 0
F7-3 |  | C | 8 | 250 |  |  | 0
FP1-7 |  |  |  | 750 |  | 0 | 0

## VAV's
National TAB
Project: OAP - Populous 112 (Dallas, TX)
Address: 1722 Routh Street Suite 112
Asset: Single Duct VAV's
Asset | Area Served | Address | Type | Size | Design Max CFM | Actual Max CFM | Design Min CFM | Actual Min CFM | Design Heat CFM | Actual Heat CFM | Ak (max)
VAV1-1 |  |  |  | 10 | 880 |  | 176
VAV1-2 |  |  |  | 10 | 900 |  | 180
VAV1-3 |  |  |  | 8 | 400 |  | 80
VAV1-4 |  |  |  | 8 | 330 |  | 66
VAV1-5 |  |  |  | 8 | 400 |  | 80
VAV1-6 |  |  |  | 8 | 700 |  | 140
Note on C7: NTAB: BILLINGSLEY ONLY

## VAV SGRD
National TAB
Project: OAP - Populous 112 (Dallas, TX)
Address: 1722 Routh Street Suite 112
Asset: VAV SUPPLY
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
V1-1 |  | C | 8 | 220 |  |  | 0
V1-2 |  | C | 8 | 220 |  |  | 0
V1-3 |  | C | 8 | 220 |  |  | 0
V1-4 |  | C | 8 | 220 |  |  | 0
VAV1-1 |  |  |  | 880 |  | 0 | 0
V2-1 | COPY ROOM | F |  | 300 |  |  | 0
V2-2 |  | F |  | 100 |  |  | 0
V2-3 |  | F |  | 250 |  |  | 0
V2-4 |  | F |  | 150 |  |  | 0
V2-5 |  | F |  | 100 |  |  | 0
VAV1-2 |  |  |  | 900 |  | 0 | 0
V3-1 |  | C | 8 | 400 |  |  | 0
VAV1-3 |  |  |  | 400 |  | 0 | 0
V4-1 |  | C | 6 | 120 |  |  | 0
V4-2 | RR | E |  | 100 |  |  | 0
V4-3 |  | C | 6 | 110 |  |  | 0
VAV1-4 |  |  |  | 330 |  |  | 0
V5-1 |  | A | 8 | 200 |  |  | 0
V5-2 |  | A | 8 | 200 |  |  | 0
VAV1-5 |  |  |  | 400 |  | 0 | 0
V6-1 |  | C | 8 | 350 |  |  | 0
V6-2 |  | C | 8 | 350 |  |  | 0
|  |  |  | 700 |  | 0 | 0

## EF-1
National TAB
Project: OAP - Populous 112 (Dallas, TX)
Address: 1722 Routh Street Suite 112
Asset: Exhaust Fan |  |  | Area: Copy Room
Unit Data |  |  |  |  | Test Data
MFG |  | EXISTING |  |  |  | Design | Actual
Model Num |  | EXISTING |  |  | CFM | 575
Serial Num |  |  |  |  | Fan RPM | 1500
Type |  | INLINE |  |  | RL Voltage | 120
RL Amperage
Motor Data |  |  |  |  | Suction ESP
Motor MFG |  |  |  |  | Total ESP | 0.5
Frame
Horsepower |  | 0.667
Motor Rpm |  | 1500
Phase |  | 1
Voltage (rated) |  | 120
Amperage (rated)
Service Factor
Asset | Area Served | Type | Size | DESIGN | CFM(1) | FINAL CFM | % to design
E1-1 | RR | B |  | 175 |  |  | 0
E1-2 | COPY ROOM | H |  | 400 |  |  | 0
EF-1 |  |  |  | 575 |  | 0 | 0
-