## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
DOAS-1 | KITCHEN | 1860 |  | 0 | 0 | 1860 |  | 100% | #DIV/0!
DOAS-2 | KITCHEN | 1240 |  | 0 | 0 | 1240 |  | 100% | #DIV/0!
RTU-1 | 2ND FLOOR | 5000 |  | 4300 | 0 | 700 |  | 14% | #DIV/0!
RTU-2 | 1ST FLOOR | 4000 |  | 3050 | 0 | 950 |  | 23.75% | #DIV/0!
RTU-3 | CELLAR | 2000 |  | 1550 | 0 | 450 |  | 22.5% | #DIV/0!
RTU-4 | 1ST FLOOR | 4000 |  | 3050 | 0 | 950 |  | 23.75% | #DIV/0!
KEF-1 | HOOD | [10 empty] | 2260
KEF-2 | HOOD | [10 empty] | 1550
EF-2 | TOILET | [12 empty] | 166
EF-3 | TOILET | [12 empty] | 166
EF-4 | TOILET | [12 empty] | 403
TOTALS |  | 18100 | 0 | 11950 | 0 | 6150 | 0 |  |  | 0 | 0 | 3810 | 0 | 735 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 6150 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 4545 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1605 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0