## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | Bar/Dining 1/RR | 6000 |  | 4600 | 0 | 1400 |  | 23.33% | #DIV/0!
RTU-2 | Dining 2 | 6000 |  | 4600 | 0 | 1400 |  | 23.33% | #DIV/0!
RTU-3 | Dining 3 | 4000 |  | 3000 | 0 | 1000 |  | 25% | #DIV/0!
RTU-4 | Office/Data Room/Kitchen | 4000 |  | 3000 | 0 | 1000 |  | 25% | #DIV/0!
RTU-5 | Kitchen/Storage/Lockers | 6000 |  | 5000 | 0 | 1000 |  | 16.67% | #DIV/0!
MUA-1 | Kitchen | [8 empty] | 7592
EF-1 | Pizza Oven | [10 empty] | 1894
EF-2 | Main Cookline (right) | [10 empty] | 3375
EF-3 | Main Cookline (left) | [10 empty] | 1950
EF-4 | Prep Cooking | [10 empty] | 1800
EF-5 | S/S Condensate | [10 empty] | 1900
EF-7 | Kitchen Vestibule | [10 empty] | 400
EF-6 | Public Restroom | [12 empty] | 510
TOTALS |  | 26000 | 0 | 20200 | 0 | 5800 | 0 |  |  | 7592 | 0 | 11319 | 0 | 510 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 13392 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 11829 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1563 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0