## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 19300 |  | 15940 | 0 | 3360 |  | 17.41% | #DIV/0!
RTU-2 | PRODUCE/FRNT | 9775 |  | 8375 | 0 | 1400 |  | 14.32% | #DIV/0!
RTU-DB | DELI/BAKERY | 3000 |  | 2700 | 0 | 300 |  | 10% | #DIV/0!
MUA-1 | HD1 & | [8 empty] | 1925
EF-1 | EMP. RR | [12 empty] | 450
EF-2 | WOMENS RR | [12 empty] | 215
EF-3 | MENS RR | [12 empty] | 250
EF-4 | LOUNGE | [12 empty] | 300
EF-5 | FAM. RR | [12 empty] | 100
EF-7 | JANITOR | [12 empty] | 250
HEF-1 | HOOD 1 | [10 empty] | 2100
HEF-2 | HOOD 2 | [10 empty] | 1200
HEF-3 | HOOD 3 | [10 empty] | 1750
TOTALS |  | 32075 | 0 | 27015 | 0 | 5060 | 0 |  |  | 1925 | 0 | 5050 | 0 | 1565 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 6985 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 6615 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 370 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0