## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | TREATMENT | 2400 |  | 2150 | 0 | 250 |  | 10.42% | #DIV/0!
RTU-2 | WAITING | 2000 |  | 1765 | 0 | 235 |  | 11.75% | #DIV/0!
RTU-3 | BREAKROOM | 2400 |  | 2175 | 0 | 225 |  | 9.375% | #DIV/0!
AHU/HP-1 | STORAGE | 775 |  | 775 | 0 |  |  | 0% | #DIV/0!
EF-1 | BREAKROOM | [12 empty] | 110
EF-2 | I.T. CLOSET | [12 empty] | 50
EF-3 | LAUNDRY | [12 empty] | 110
EF-4 | BREAKROOM | [12 empty] | 50
EF-5 | WOMENS RR | [12 empty] | 85
EF-6 | MENS RR | [12 empty] | 85
EF-7 | STAFF RR | [12 empty] | 85
TOTALS |  | 7575 | 0 | 6865 | 0 | 710 | 0 |  |  | 0 | 0 | 0 | 0 | 575 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 710 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 575 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 135 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0