## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | LOBBY | 1600 |  | 1600 | 0 | 0 |  | 0% | #DIV/0!
RTU-2 | EXM RM 1-7 | 2000 |  | 2000 | 0 | 0 |  | 0% | #DIV/0!
RTU-3 | TRTMNT AREA | 2000 |  | 2000 | 0 | 0 |  | 0% | #DIV/0!
RTU-4 | KENNEL | 1600 |  | 1390 | 0 | 210 |  | 13.12% | #DIV/0!
RTU-5 | DENTAL | 1600 |  | 1359 | 0 | 241 |  | 15.06% | #DIV/0!
ERV-1 | RTU-1 | [12 empty] | 680
ERV-2 | RTU-2 | [12 empty] | 1400
ERV-3 | RTU-3 | [12 empty] | 864
ERV-4 | RTU-4 | [12 empty] | 1450
EF-1 | TOILET 105 | [12 empty] | 70
EF-2 | ISOLATION | [12 empty] | 90
EF-3 | TOILET 125 | [12 empty] | 70
EF-4 | PET WASH | [12 empty] | 50
EF-5 | O2 CLOSET | [12 empty] | 195
TOTALS |  | 8800 | 0 | 8349 | 0 | 451 | 0 |  |  | 0 | 0 | 0 | 0 | 4869 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 451 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 4869 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -4418 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0