## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | Showroom | 5750 |  | 5100 | 0 | 650 |  | 11.3% | #DIV/0!
RTU-2 | Showroom | 5750 |  | 5100 | 0 | 650 |  | 11.3% | #DIV/0!
RTU-3 | Customer Waiting | 1050 |  | 930 | 0 | 120 |  | 11.43% | #DIV/0!
RTU-4 | Business | 1800 |  | 1600 | 0 | 200 |  | 11.11% | #DIV/0!
RTU-5 | Buyers | 1200 |  | 1040 | 0 | 160 |  | 13.33% | #DIV/0!
RTU-6 | PBX | 975 |  | 975 | 0 |  |  | 0% | #DIV/0!
RTU-7 | Breakroom | 1500 |  | 1200 | 0 | 300 |  | 20% | #DIV/0!
RTU-8 | Service Writer | 1100 |  | 940 | 0 | 160 |  | 14.55% | #DIV/0!
RTU-9 | Service Area (BP) | 5600 |  | 1600 | 0 | 4000 |  | 71.43% | #DIV/0!
RTU-10 | Service Area (BP) | 5600 |  | 1600 | 0 | 4000 |  | 71.43% | #DIV/0!
EF-2 | Service | [12 empty] | 1500
TOTALS |  | 30325 | 0 | 20085 | 0 | 10240 | 0 |  |  | 0 | 0 | 0 | 0 | 1500 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 10240 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1500 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 8740 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0