## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | KITCHEN | 9500 |  | 7695 | 0 | 1805 |  | 19% | #DIV/0!
AC-2 | SIDE DINING | 3150 |  | 2551 | 0 | 599 |  | 19.02% | #DIV/0!
AC-3 | SERVING | 4000 |  | 3240 | 0 | 760 |  | 19% | #DIV/0!
AC-4 | DINING | 2710 |  | 2195 | 0 | 515 |  | 19% | #DIV/0!
AC-5 | PLAY AREA | 1800 |  | 1458 | 0 | 342 |  | 19% | #DIV/0!
AHU-1 | NEW ADDITION | 1200 |  | 972 | 0 | 228 |  | 19% | #DIV/0!
EF-1 | HD1 L&R PRESS COOKER | [10 empty] | 1912
EF-2 | HD2 FRYER | [10 empty] | 701
EF-3 | RESTROOMS | [12 empty] | 500
EF-4 | HD3 GRIDDLE | [10 empty] | 701
TOTALS |  | 22360 | 0 | 18111 | 0 | 4249 | 0 |  |  | 0 | 0 | 3314 | 0 | 500 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4249 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3814 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 435 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1700 |  | -1700
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 804 |  | -804