## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | KITCHEN | 8750 |  | 6900 | 0 | 1850 |  | 21.14% | #DIV/0!
AC-2 | DINING A | 3150 |  | 2550 | 0 | 600 |  | 19.05% | #DIV/0!
AC-3 | DINING B | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
AC-4 | DINING B | 2750 |  | 2250 | 0 | 500 |  | 18.18% | #DIV/0!
AC-5 | PLAYGROUND | 2000 |  | 1700 | 0 | 300 |  | 15% | #DIV/0!
AC-6 | MULTI-PURPOSE | 1100 |  | 900 | 0 | 200 |  | 18.18% | #DIV/0!
EF-1 | HOOD 1 & 2 | [10 empty] | 1912
EF-2 | HOOD 3 | [10 empty] | 701
EF-3 | RESTROOM | [12 empty] | 500
EF-4 | HOOD 4 | [10 empty] | 390
TOTALS |  | 21750 | 0 | 17500 | 0 | 4250 | 0 |  |  | 0 | 0 | 3003 | 0 | 500 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 4250 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3503 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 747 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 1080 |  | -1080
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 832 |  | -832
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 701 |  | -701
HD | HALTON | [5 empty] | NA |  | NA |  | 0 |  | 390 |  | -390