## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
AC-1 | KITCHEN | 7000 |  | 4625 | 0 | 2375 |  | 33.93% | #DIV/0!
AC-2 | DINING | 7000 |  | 4625 | 0 | 2375 |  | 33.93% | #DIV/0!
AC-3 | DINING & TOILET | 5000 |  | 3800 | 0 | 1200 |  | 24% | #DIV/0!
SF-1 | KITCHEN HD | [8 empty] | 5000
SF-2 | KITCHEN HD | [8 empty] | 5000
EF-1 | KITCHEN HD | [10 empty] | 3500
EF-2 | KITCHEN HD | [10 empty] | 3500
EF-3 | KITCHEN HD | [10 empty] | 3000
EF-4 | KITCHEN HD | [10 empty] | 3600
EF-5 | KITCHEN HD | [10 empty] | 1050
EF-6 | TOILETS | [12 empty] | 1000
TOTALS |  | 19000 | 0 | 13050 | 0 | 5950 | 0 |  |  | 10000 | 0 | 14650 | 0 | 1000 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 15950 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 15650 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 300 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0