## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 25500 |  | 19750 | 0 | 5750 |  | 22.55% | #DIV/0!
RTU-2 | LOUNGE/OFFICES | 900 |  | 800 | 0 | 100 |  | 11.11% | #DIV/0!
RTU-3 | FRONT OFFICES | 900 |  | 800 | 0 | 100 |  | 11.11% | #DIV/0!
RTU-DB | DELI/BAKERY | 2000 |  | 1800 | 0 | 200 |  | 10% | #DIV/0!
EF-2 | RESTROOMS | [12 empty] | 675
EF-3 | SEAFOOD PREP | [12 empty] | 675
EF-4 | JANITOR AREA | [12 empty] | 200
EF-5 | LOUNGE/OFFICES | [12 empty] | 300
EF-6 | RACK OVEN | [12 empty] | 750
HEF-1 | KH-1 | [10 empty] | 1155
TOTALS |  | 29300 | 0 | 23150 | 0 | 6150 | 0 |  |  | 0 | 0 | 1155 | 0 | 2600 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 6150 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 3755 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 2395 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0