## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | OFFICES | 10750 |  | 8590 | 0 | 2160 |  | 20.09% | #DIV/0!
RTU-2 | SHOW ROOM | 6600 |  | 5770 | 0 | 830 |  | 12.58% | #DIV/0!
RTU-3 | SHOW ROOM | 6600 |  | 5770 | 0 | 830 |  | 12.58% | #DIV/0!
RTU-4 | SHOW ROOM | 6600 |  | 5770 | 0 | 830 |  | 12.58% | #DIV/0!
RTU-5 | TITLE OFFICE | 6000 |  | 5260 | 0 | 740 |  | 12.33% | #DIV/0!
RTU-6 | OFFICES | 10550 |  | 8750 | 0 | 1800 |  | 17.06% | #DIV/0!
RTU-7 | PARTS | 2500 |  | 2400 | 0 | 100 |  | 4% | #DIV/0!
RTU-8 | BREAK/PARTS ACC | 8000 |  | 5560 | 0 | 2440 |  | 30.5% | #DIV/0!
RTU-9 | SERVICE WRITER | 2400 |  | 2200 | 0 | 200 |  | 8.333% | #DIV/0!
RTU-10A | SERVICE (ERV) | 4200 |  | 0 | 0 | 4200 |  | 100% | #DIV/0!
RTU-10B | SERVICE (BP) | 9600 |  | 5400 | 0 | 4200 |  | 43.75% | #DIV/0!
RTU-11A | SERVICE (ERV) | 4200 |  | 0 | 0 | 4200 |  | 100% | #DIV/0!
RTU-11B | SERVICE (BP) | 8000 |  | 3800 | 0 | 4200 |  | 52.5% | #DIV/0!
RTU-12A | SERVICE (BP) | 8000 |  | 3800 | 0 | 4200 |  | 52.5% | #DIV/0!
RTU-12B | SERVICE (BP) | 9600 |  | 5400 | 0 | 4200 |  | 43.75% | #DIV/0!
RTU-13 | FQC/FLAT BAY | 6000 |  | 3890 | 0 | 2110 |  | 35.17% | #DIV/0!
RTU-14 | FQC OFFICE | 650 |  | 590 | 0 | 60 |  | 9.231% | #DIV/0!
RTU-15 | SERVICE (BP) | 4400 |  | 1700 | 0 | 2700 |  | 61.36% | #DIV/0!
RTU-16 | PAINT | 8000 |  | 7700 | 0 | 300 |  | 3.75% | #DIV/0!
RTU-17 | PAINT | 4000 |  | 3700 | 0 | 300 |  | 7.5% | #DIV/0!
RTU-18 | PBX | 1000 |  | 1000 | 0 | 0 |  | 0% | #DIV/0!
RTU-19 | PAINT | 1920 |  | 1920 | 0 | 0 |  | 0% | #DIV/0!
RTU-20 | PAINT | 1920 |  | 1920 | 0 | 0 |  | 0% | #DIV/0!
TOTALS |  | 131490 | 0 | 90890 | 0 | 40600 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 40600 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 0 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 40600 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0