## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-4 | BABY | 3500 |  | 2800 | 0 | 700 |  | 20% | #DIV/0!
RTU-7 | MENS SHOES | 3500 |  | 2800 | 0 | 700 |  | 20% | #DIV/0!
RTU-10 | YOUTH SHOES | 3500 |  | 2800 | 0 | 700 |  | 20% | #DIV/0!
AHU-2 | 2ND FLOOR | 13000 |  | 7800 | 0 | 5200 |  | 40% | #DIV/0!
AC-B-1 | CELLAR | 1200 |  | 600 | 0 | 600 |  | 50% | #DIV/0!
AC-1 | 1ST FLOOR | 1000 |  | 800 | 0 | 200 |  | 20% | #DIV/0!
GEF-1 | RESTROOM | [12 empty] | 450
GEF-2 | FITTING ROOM | [12 empty] | 390
TEF-1 | CELLAR | [12 empty] | 490
TOTALS |  | 25700 | 0 | 17600 | 0 | 8100 | 0 |  |  | 0 | 0 | 0 | 0 | 1330 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 8100 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1330 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 6770 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0