## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | SALES | 10300 |  | 8500 | 0 | 1800 |  | 17.48% | #DIV/0!
RTU-2 | SALES | 10300 |  | 8500 | 0 | 1800 |  | 17.48% | #DIV/0!
RTU-3 | SALES | 10300 |  | 8500 | 0 | 1800 |  | 17.48% | #DIV/0!
RTU-4E | PHARMACY & FT. MEZZ OFFICE | 3000 |  | 2550 | 0 | 450 |  | 15% | #DIV/0!
RTU-5 | SALES | 10300 |  | 8500 | 0 | 1800 |  | 17.48% | #DIV/0!
RTU-6 | VESTIBULE | 3400 |  | 3000 | 0 | 400 |  | 11.76% | #DIV/0!
RTU-7 | DOCK | 4375 |  | 3475 | 0 | 900 |  | 20.57% | #DIV/0!
MAU | DELI HOODS | [8 empty] | 2320
EF-1 | DELI PREP | [10 empty] | 2500
EF-2 | DELI PREP | [10 empty] | 2900
EF-3 | SEAFOOD | [10 empty] | 800
EF-5 | RACK OVEN | [10 empty] | 900
EF-6 | UNISEX RR | [12 empty] | 500
EF-7 | STORAGE | [12 empty] | 400
EF-8 | SMOKING ROOM (ABANDONED)
EF-9 | MEN RESTROOM
TOTALS |  | 51975 | 0 | 43025 | 0 | 8950 | 0 |  |  | 2320 | 0 | 7100 | 0 | 900 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 11270 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 8000 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 3270 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0