## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
WSHP-1 | EMP.LOUNGE | 1200 |  | 1045 | 0 | 155 |  | 12.92% | #DIV/0!
WSHP-2 | IT EQ ROOM | 1150 |  | 935 | 0 | 215 |  | 18.7% | #DIV/0!
WSHP-3 | STOCKROOM | 1150 |  | 935 | 0 | 215 |  | 18.7% | #DIV/0!
WSHP-4 | SALES | 3000 |  | 2100 | 0 | 900 |  | 30% | #DIV/0!
WSHP-5 | SALES | 3000 |  | 2100 | 0 | 900 |  | 30% | #DIV/0!
WSHP-6 | SALES/F.ROOM | 3000 |  | 2100 | 0 | 900 |  | 30% | #DIV/0!
WSHP-7 | SALES | 2600 |  | 2600 | 0 | 0 |  | 0% | #DIV/0!
EF-1 | RESTROOM | [12 empty] | 350
EF-2 | IT CLOSET | [12 empty] | 1000
TOTALS |  | 15100 | 0 | 11815 | 0 | 3285 | 0 |  |  | 0 | 0 | 0 | 0 | 1350 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 3285 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 1350 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1935 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0