## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | KITCHEN | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-2 | KITCHEN | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-3 | KITCHEN | 4000 |  | 3200 | 0 | 800 |  | 20% | #DIV/0!
RTU-4 | DINING AREA | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-5 | DINING AREA | 2000 |  | 1600 | 0 | 400 |  | 20% | #DIV/0!
RTU-6 | DINING AREA | 3150 |  | 2520 | 0 | 630 |  | 20% | #DIV/0!
RTU-7 | DINING AREA | 3150 |  | 2520 | 0 | 630 |  | 20% | #DIV/0!
RTU-8 | DINING AREA | 2100 |  | 1680 | 0 | 420 |  | 20% | #DIV/0!
RTU-9 | DINING AREA | 3150 |  | 2520 | 0 | 630 |  | 20% | #DIV/0!
RTU-10 | DINING AREA | 2100 |  | 1680 | 0 | 420 |  | 20% | #DIV/0!
RTU-11 | DINING AREA | 2100 |  | 1680 | 0 | 420 |  | 20% | #DIV/0!
RTU-12 | DINING AREA | 1260 |  | 1008 | 0 | 252 |  | 20% | #DIV/0!
MUA-1 | KITCHEN | [8 empty] | 3052
MUA-2 | KITCHEN | [8 empty] | 3600
MUA-3 | KITCHEN | [8 empty] | 1210
KEF-1 | HOOD #2 + #3 | [10 empty] | 4339
KEF-2 | [11 empty] | 2870
KEF-3 | [11 empty] | 1500
KEF-4 | OVEN | [10 empty] | 1050
KEF-5 | DISHWASHER | [10 empty] | 1488
KEF-6 | HOOD #4 | [10 empty] | 1706
KEF-7 | HOOD #5 | [10 empty] | 1706
EF-1 | RESTROOM | [12 empty] | 75
EF-2 | RESTROOM | [12 empty] | 75
TOTALS |  | 33010 | 0 | 26408 | 0 | 6602 | 0 |  |  | 7862 | 0 | 14659 | 0 | 150 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | FALSE | TRUE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 0
TOTAL OA |  | 14464 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 14809 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | -345 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0