## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | DINING | 3000 |  | 3000 | 0 |  |  | 0% | #DIV/0!
RTU-2 | DINING | 3000 |  | 3000 | 0 |  |  | 0% | #DIV/0!
DOAS-1 | DINING | 3600 |  | 0 | 0 | 3600 |  | 100% | #DIV/0!
DOAS-2 | KITCHEN | 5000 |  | 600 | 0 | 4400 |  | 88% | #DIV/0!
MUA-3 | KITCHEN HD 1&2 | [8 empty] | 2802
MUA-6 | KITCHEN HD 4 | [8 empty] | 1935
KEF-1 | KITCHEN HD 1 | [10 empty] | 1750
KEF-2 | KITCHEN HD 2 | [10 empty] | 2560
KEF-4 | KITCHEN HD 3 | [10 empty] | 3267
KEF-5 | KITCHEN HD 4 | [10 empty] | 2250
KEF-7 | DISHWASHER | [10 empty] | 800
EF-1 | RESTROOM | [12 empty] | 450
TOTALS |  | 14600 | 0 | 6600 | 0 | 8000 | 0 |  |  | 4737 | 0 | 10627 | 0 | 450 | 0
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS |  |  |  |  | TRUE | FALSE | FALSE
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1
TOTAL OA |  | 12737 | 0 |  | FRONT | [10 empty] | #DIV/0! | #DIV/0! | FALSE
TOTAL EXHAUST |  | 11077 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0!
NET AIRFLOW |  | 1660 | 0 |  | REAR | [10 empty] | #DIV/0!
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0