## FCU-1-21
National TAB
Project: CW 3501 - Spec Suite 180
Address: 3501 Olympus Coppell, TX
Asset: FCU-1-21 |  | Area: OPEN OFFICE 182
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 600
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 60
[5 empty] | RA CFM | 540
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
121-1 | 183 | E | 16X4 | 150 |  |  | 0
121-2 | 183 | E | 16X4 | 150 |  |  | 0
121-3 | 182 | E | 16X4 | 150 |  |  | 0
121-4 | 183 | E | 16X5 | 150 |  |  | 0
|  |  |  | 600 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## FCU-1-22
National TAB
Project: CW 3501 - Spec Suite 180
Address: 3501 Olympus Coppell, TX
Asset: FCU-1-22 |  | Area: OFFICE 185
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 1280
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 130
[5 empty] | RA CFM | 1150
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
122-1 | 185 | C | 10 | 155 |  |  | 0
122-2 | 185 | C | 10 | 155 |  |  | 0
122-3 | 186 | C | 10 | 190 |  |  | 0
122-4 | 187 | C | 10 | 190 |  |  | 0
122-5 | 188 | C | 10 | 190 |  |  | 0
122-6 | 189 | E | 16X4 | 200 |  |  | 0
122-7 | 189 | E | 16X4 | 200 |  |  | 0
|  |  |  | 1280 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## FCU-1-23
National TAB
Project: CW 3501 - Spec Suite 180
Address: 3501 Olympus Coppell, TX
Asset: FCU-1-23 |  | Area: OPEN OFFICE 183
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 880
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 150
[5 empty] | RA CFM | 730
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
123-1 | 183 | E | 14X6 | 220 |  |  | 0
123-2 | 183 | E | 14X6 | 220 |  |  | 0
123-3 | 183 | E | 14X6 | 220 |  |  | 0
123-4 | 183 | E | 14X6 | 220 |  |  | 0
|  |  |  | 880 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## FCU-1-24
National TAB
Project: CW 3501 - Spec Suite 180
Address: 3501 Olympus Coppell, TX
Asset: FCU-1-24 |  | Area: ENTRY 180
Unit Data |  |  |  |  | Test Data
MFG | [5 empty] | Design | Actual
Model Num |  |  |  |  | SA CFM | 880
Serial Num |  |  |  |  | Fan Speed
[5 empty] | OA CFM | 150
[5 empty] | RA CFM | 730
Motor Data |  |  |  |  | RL Voltage | 208
Motor MFG |  |  |  |  | RL Amperage
Horsepower |  |  |  |  | Suction ESP
Motor Rpm |  |  |  |  | Discharge ESP
Phase | 1 |  |  |  | Total ESP
Voltage (rated) | 208 |  |  |  | Brake HP
Amperage (rated)
Asset | Area Served | Type | Size | DESIGN CFM | Prelim CFM | FINAL CFM | % to design
124-1 | 183 | E | 14X6 | 200 |  |  | 0
124-2 | 183 | E | 14X6 | 200 |  |  | 0
124-3 | 183 | E | 14X6 | 200 |  |  | 0
124-4 | 180 | F | 8X6 | 100 |  |  | 0
124-5 | 181 | A | 8 | 180 |  |  | 0
|  |  |  | 880 |  | 0 | 0
Note on A5: USE FOR: FAN COIL UNIT SPLIT SYSTEM FURNACE HEAT PUMP

## EF-1-2
National TAB
Project: CW 3501 - Spec Suite 180
Address: 3501 Olympus Coppell, TX
Asset: EF-1-2 |  | Area: STORAGE 184
Unit Data |  |  | Test Data
MFG |  |  |  | Design | Actual
Model Num |  |  | CFM | 200
Serial Num |  |  | Fan RPM | 900
Type | CEILING |  | RL Voltage | 120
RL Amperage
Motor Data |  |  | Suction ESP
Motor MFG |  |  | Total ESP | 0.25
Frame
Horsepower | 56.1W
Motor Rpm | 900
Phase | 1
Voltage (rated) | 120
Amperage (rated)
Service Factor
-