## SUMMARY (2)
AIR BALANCE SCHEDULE
| AREA | HVAC SUPPLY |  | HVAC RETURN |  | HVAC OUTDOOR |  | OA % |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | GENERAL EXH.
UNIT | SERVED | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL | DESIGN | ACTUAL
RTU-1 | BAR & BAR DINING | 4400 |  | 3350 | 0 | 1050 |  | 23.86% | #DIV/0!
RTU-2 | WAITING & DINING | 4400 |  | 3350 | 0 | 1050 |  | 23.86% | #DIV/0!
RTU-3 | KITCHEN | 4400 |  | 3375 | 0 | 1025 |  | 23.3% | #DIV/0!
MUA-1 | HOOD MUA1 | [8 empty] | 4880
EF-1 | HOOD I | [10 empty] | 1480
EF-2 | HOOD 2 | [10 empty] | 1700
EF-3 | HOOD 3 | [10 empty] | 2205
EF-4 | HOOD 4 | [10 empty] | 1050
EF-5 | RESTROOMS | [12 empty] | 450
TOTALS |  | 13200 | 0 | 10075 | 0 | 3125 | 0 |  |  | 4880 | 0 | 6435 | 0 | 450 | 0
[16 empty] | TRUE | FALSE | FALSE
NET BUILDING AIRFLOW CALCULATION |  |  |  |  | DOOR TESTED |  | BUILDING PRESSURE MEASUREMENTS (IN. H20) |  |  |  | FINAL CHECKS
TOTALS |  | DESIGN | ACTUAL | [7 empty] | ACTUAL NET AIRFLOW COINCIDES WITH DESIGN: |  |  |  | 1 | #DIV/0! | #DIV/0! | FALSE
TOTAL OA |  | 8005 | 0 |  | FRONT
TOTAL EXHAUST |  | 6885 | 0 |  | SIDE | [5 empty] | MEASURED PRESSURES COINCIDES WITH ACTUAL NET AIRFLOW: |  |  |  | #DIV/0! | #DIV/0!
NET AIRFLOW |  | 1120 | 0 |  | REAR
[5 empty] | AVERAGE |  | #DIV/0! |  |  |  | PRESSURE FALLS WITHIN IMC TOLERANCE OF +/-0.02" W.C. |  |  |  | #DIV/0!
NOTES:
SYSTEM COMPONENTS TO ASSETS SCHEDULED ABOVE
UNIT | MANUFACTURER |  | FILTER TYPE/#/SIZE |  |  |  | MAU TYPE |  | SIZE |  | HOOD MAKE-UP |  | HOOD EXHAUST |  | NET CFM
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0
HD | [14 empty] | 0