## AHU-3
National TAB
Project: CMS E.E. Waddell High Renovation
Address: 7030 Nations Ford Rd Charlotte, NC
Asset: AHU-3 |  | Area:
Supply Side |  |  | Exhaust Side
Unit Data |  |  | Unit Data
Manufacturer |  |  | Manufacturer
Model Number |  |  | Model Number
Serial Number |  |  | Serial Number
Configuration |  |  | Configuration
No. Pre Filters / Size |  |  | No. Pre Filters / Size
No. Pre Filters / Size |  |  | No. Pre Filters / Size
No. Pre Filters / Size |  |  | No. Pre Filters / Size
No. Final Filters / Size
No. Final Filters / Size
No. Final Filters / Size
Motor Data X |  |  | Motor Data X
Motor MFG / Frame |  |  | Motor MFG / Frame
Horsepower / RPM |  |  | Horsepower / RPM
Rated Volts / Phase |  |  | Rated Volts / Phase
Rated Amperage / SF |  |  | Rated Amperage / SF
Drive Data |  |  | Drive Data
Motor Sheave Size / Bore |  |  | Motor Sheave Size / Bore
Fan Sheave Size / Bore |  |  | Fan Sheave Size / Bore
Belt CL Distance |  |  | Belt CL Distance
No. Belts / Size |  |  | No. Belts / Size
Test Data |  |  | Test Data
| Design | Actual |  | Design | Actual
Supply CFM |  |  | Total CFM
Min OA CFM |  |  | Fan RPM
Return CFM |  |  | Operating HZ
Fan RPM |  |  | RL Voltage
Operating HZ |  |  | RL Amperage
RL Voltage |  |  | Motor B.H.P.
RL Amperage
Motor B.H.P.
Performance Data |  |  | Performance Data
| Design | Actual |  | Design | Actual
Suction S.P. |  |  | Suction S.P.
Discharge S.P. |  |  | Discharge S.P.
Total SP |  |  | Total SP
System S.P. Set Point
CW Coil P.D.
HW Coil P.D. |  |  | Heat Wheel P.D.
Final Filters P.D. |  |  | HW Coil P.D.
Heat Wheel P.D. |  |  | Heat Wheel P.D.
Heat Wheel P.D. |  |  | Pre Filters P.D.
Pre Filters P.D.
Total ESP |  |  | Total ESP

## GRDs
National TAB
Project: CMS E.E. Waddell High Renovation
Address: 7030 Nations Ford Rd Charlotte, NC
Asset | Location | Type | Size | DESIGN CFM | PRELIM CFM | FINAL CFM | % to design
EF-1 | 216 | Sash | 38X12 | 870 | 456
EF-2 | 217 | Sash | 38X12 | 870 | 507
EF-3 | 220 | Sash | 38X12 | 870 | 382
EF-4 | 301A | EG | 22X22 | 1300 | 1928
EF-5 | 219 | EF | 15X14 | 350 | 400 | 400 | 1.1429
EF-6 | 204 | EF | 15X14 | 175 | 342 | 342 | 1.9543
EF-7 | 205 | EF | 15X14 | 175 | 331 | 331 | 1.8914
EF-8 | 210 | EF | 15X14 | 125 | 131 | 131 | 1.048
EF-9 | 213 | EF | 15X14 | 125 | 132 | 132 | 1.056
EF-10 | 230 | EF | 15X14 | 125 | 112 | 112 | 0.896
EF-11 | 232 | EF | 15X14 | 125 | 122 | 122 | 0.976
VAV-1/301A
sgrd-1 | 301A | A | 12 | 400 | 52
sgrd-2 | 301A | A | 12 | 400 | 49
sgrd-3 | 301A | A | 12 | 450 | 53
|  |  |  | 1250 | 154
sgrd-1 | 301 | A | 12 | 460 | 58
UV-216 OA | 216 | DUCT | 14 | 900 | 52 |  | **
UV-217 OA | 217 | DUCT | 14 | 900 | 0 |  | **
UV-223 OA | 223 | DUCT | 14 | 900 | 256 |  | **
** Motor operated dampers are 2 position open or closed. Note 8 calls for a min and max setting or 225 cfm and 900 cfm. Even with damper 100% open the min OA is only reached in room 223. The return needs to be lowered to get 900 cfm. The MOD in room 217 does not open with it's EF on or off